## Document map
Capacities for Transmission Capacity Map RTS008_NS - DWH.rdl
Cross-border IP within EU and with non-EU (export)
Zeebrugge IZT
Zelzate
Zelzate (Zebra Pijpleiding)
Zandvliet H-gas
Hilvarenbeek
's Gravenvoeren Dilsen (BE) // 's Gravenvoeren/Obbicht (NL)
Eynatten 1 (BE) // Lichtenbusch / Raeren (DE)
Eynatten 2 (BE) // Lichtenbusch / Raeren (DE)
GDLux (BE) / Bras Petange (LU)
Remich
Blaregnies L (BE) / Taisnières B (FR)
Bocholtz
Bocholtz-Vetschau
Zevenaar
Winterswijk
Vlieghuis
Vlieghuis (NL) / Kalle (DE) (RWE)
Epe (DE) (Eneco) / Enschede (NL)
Epe (DE) (Nuon) / Enschede (NL)
Epe (DE) / Enschede (NL)
Bunde (DE) / Oude Statenzijl (H) (NL) (GASCADE)
Bunde (DE) / Oude Statenzijl (H) (NL) (GUD)
Bunde (DE) / Oude Statenzijl (H) (NL) I (OGE)
Bunde (DE) / Oude Statenzijl (L) (NL) (GTG Nord)
Bunde (DE) / Oude Statenzijl (L) (NL) (GUD)
Etzel (DE) (Crystal) / Oude Statenzijl (NL)
Etzel (DE) (EKB) / Oude Statenzijl Etzel (NL)
Etzel (DE) (OMV) Freya / Oude Statenzijl Etzel
Nüttermoor (DE) (EWE) H / Oude Statenzijl (H) (NL)
Nüttermoor H-1 (DE) (EWE) Renato / Oude Statenzijl (NL)
Julianadorp (GTS) /Balgzand (BBL)
Bacton (IUK)
Moffat
Oberkappel
Obergailbach (FR) / Medelsheim (DE)
Überackern SUDAL (AT) / Überackern 2 (DE)
Murfeld (AT) / Ceršak (SI)
Tarvisio (IT) / Arnoldstein (AT)
Griespass (CH) / Passo Gries (IT)
Wallbach
Gorizia (IT) /Šempeter (SI)
Rogatec
Oltingue (FR) / Rodersdorf (CH)
Ellund
Dragør
Mallnow
Olbernhau (DE) / Hora Svaté Kateřiny (CZ)
Hora Svaté Kateřiny (CZ) / Deutschneudorf (Sayda) (DE)
Brandov-OPAL (DE)
Waidhaus
Cieszyn (PL) / Český Těšín (CZ)
Lanžhot
Baumgarten
Mosonmagyarovar
Kiskundorozsma (HU>RS)
Zvornik
Kyustendil (BG) / Zidilovo (MK)
Kulata (BG) / Sidirokastron (GR)
Strandzha (BG) / Malkoclar (TR)
Negru Voda I (RO) / Kardam (BG)
Negru Voda II, III (RO) / Kardam (BG)
Karksi
Kiemenai
Sakiai
Csanadpalota
Dravaszerdahely
Dolni Bojanovice
Láb (SK) / Láb IV (AT)
Haiming 2 7F
Haiming 2-RAGES/bn
Haidach (AT) / Haidach USP (DE)
Haanrade
Bizzarone
VIP IBERICO
Jura
VIP Kiefersfelden-Pfronten
Tegelen
Budince
Ungheni
Jemgum (DE) (astora) / Oude Statenzijl (NL)
Jemgum (DE) (EWE) / Oude Statenzijl (NL)
Balassagyarmat (HU) / Velké Zlievce (SK)
VIP PIRINEOS
RC Basel
RC Lindau
Misso Izborsk
GCP GAZ-SYSTEM/ONTRAS
Ruse (BG) / Giurgiu (RO)
VIP Brandov-GASPOOL
VIRTUALYS
Rep. San Marino
Intra-Balancing Zone Point
Nybro
Kienbaum
Broichweiden Süd
Lampertheim IV
Emsbüren-Berge
Steinitz
Gernsheim
Point of Interconnection (PWP) (PL)
Zone L-Gas GUD/OGE
Carrickfergus
Vecsés MGT / FGSZ
Zone GASCADE / OGE
Transfer Point NGTN <-> GTNTT
VIP L GASPOOL-NCG
Cross-border IP with non-EU (import)
St. Fergus
Dornum (EPT1 & EPT2)
Emden (EPT1)
Zeebrugge ZPT
Dunkerque
Easington
Tarifa
Almería
Mazara del Vallo
Gela
Imatra
Korneti
Kotlovka
Tieterowka
Kondratki
Wysokoje
Drozdovichi (UA) -Drozdowicze (PL)
Uzhgorod (UA) - Velké Kapušany (SK)
Beregdaróc 1400 (HU) - Beregovo (UA) (UA>HU)
Isaccea (RO) - Orlovka (UA) I
Isaccea (RO) - Orlovka (UA) II
Isaccea (RO) - Orlovka (UA) III
Kipi (TR) / Kipi (GR)
Värska
Greifswald
VIP Mediesu Aurit - Isaccea (RO-UA)
Misso / Estonia
Dornum GASPOOL
LNG Entry IP
Zeebrugge LNG
Teesside
Isle of Grain
Milford Haven
Montoir de Bretagne
Fos (Tonkin/Cavaou)
Panigaglia
Cavarzere (Porto Levante / Adriatic LNG)
Agia Triada
Barcelona
Sagunto
Cartagena
Huelva
Mugardos
Bilbao
Sines
Gate Terminal (I)
OLT LNG / Livorno
Klaipeda (LNG)
Dunkerque LNG
Swinoujscie
Trading Point
NPTF
GTF (Bilateral Trading Point)
TTF
VHP GASPOOL
VHP NetConnectGermany
OTE
NBP
IBP
PSV
PVB
CEGH
ZTP (Zeebrugge Trading Point H-Zone)
VTP - GAZ-SYSTEM
Zeebrugge Beach

## Capacity Map
|  |  | Transmission Capacity Map 2019 | [5 empty] | Generated by PDWS
|  |  |  | Legend |  |  |  |  | 08/29/2019 02:07:15 PM
Virtual points are indicated with a "V" mention. By default the map displays interconnections only when firm technical capacity is existing.
Number |  | Point |  |  | Arc | Technical physical capacity (GWh/d) | From Identifier | From Operator |  | From CC | From BZ | To Identifier |  | To Operator | To CC | To BZ | Available Flow Directions |  | Min GCV | Max GCV
Cross-border IP within EU and with non-EU (export)
1 |  | Zeebrugge IZT |  |  | >IB-BEhz | 651.7 | 21Z0000000000074 | Interconnector |  | UK | IUK | 21Z0000000000074 |  | Fluxys Belgium | BE | BeLux | B | B | 11.5 | 11.63
[5 empty] | IB-BEhz> | 803.4 | 21Z0000000000074 | Fluxys Belgium |  | BE | BeLux | 21Z0000000000074 |  | Interconnector | UK | IUK | B | B | 11.5 | 11.63
2 |  | Zelzate |  |  | BEh>NL | 271 | 21Z000000000019Y | Fluxys Belgium |  | BE | BeLux | 21Z000000000019Y |  | GTS | NL | Netherlands | B | B | 11.63 | 11.63
[5 empty] | NL>BEh | 407 | 21Z000000000019Y | GTS |  | NL | Netherlands | 21Z000000000019Y |  | Fluxys Belgium | BE | BeLux | B | B | 11.63 | 11.63
|  | Zelzate (Zebra Pijpleiding) |  |  | BEh>NL | 122 | 21Z0000000000171 | Fluxys Belgium |  | BE | BeLux |  |  | Zebra Pijpleiding | NL | Netherlands | Y | - | 11.63 | 11.63
3 |  | Zandvliet H-gas |  |  | NL>BEh | 47 | 21Z0000000001062 | GTS |  | NL | Netherlands | 21Z0000000001062 |  | Fluxys Belgium | BE | BeLux | Y | Y | 11.63 | 11.63
4 |  | Hilvarenbeek |  |  | NL>BEl | 642 | 21Z000000000243T | GTS |  | NL | Netherlands | 21Z000000000243T |  | Fluxys Belgium | BE | L-Zone | - | Y | 9.77 | 9.77
5 | V | 's Gravenvoeren Dilsen (BE) // 's Gravenvoeren/Obbicht (NL) |  |  | NL>BEh | 340.8318 | 21Z000000000169F | GTS |  | NL | Netherlands | 21Z000000000169F |  | Fluxys Belgium | BE | BeLux | Y | Y | 11.63 | 11.63
6 |  | Eynatten 1 (BE) // Lichtenbusch / Raeren (DE) |  |  | >IB-BEhe | 132.2 | 21Z0000000000155 | GASCADE Gastransport |  | DE | GASPOOL | 21Z0000000000155 |  | Fluxys Belgium | BE | BeLux | B | B | 11.63 | 11.63
[5 empty] | IB-BEhe> | 129.5 | 21Z0000000000155 | Fluxys Belgium |  | BE | BeLux | 21Z0000000000155 |  | GASCADE Gastransport | DE | GASPOOL | B | B | 11.63 | 11.63
|  | Eynatten 2 (BE) // Lichtenbusch / Raeren (DE) |  |  | >IB-BEhe | 268.3 | 21Z0000000000163 | Open Grid Europe |  | DE | NCG | 21Z0000000000163 |  | Fluxys Belgium | BE | BeLux | B | B | 11.63 | 11.63
[7 empty] | 21Z000000000147P | Thyssengas |  | DE | NCG | 21Z0000000000163 |  | Fluxys Belgium | BE | BeLux | Y | B | 11.63 | 11.63
[7 empty] | 21Z000000000174M | Fluxys TENP |  | DE | NCG | 21Z0000000000163 |  | Fluxys Belgium | BE | BeLux | B | B | 11.63 | 11.63
[5 empty] | IB-BEhe> | 160 | 21Z0000000000163 | Fluxys Belgium |  | BE | BeLux | 21Z0000000000163 |  | Open Grid Europe | DE | NCG | B | B | 11.63 | 11.63
[12 empty] | 21Z000000000147P |  | Thyssengas | DE | NCG | B | Y | 11.63 | 11.63
[12 empty] | 21Z000000000174M |  | Fluxys TENP | DE | NCG | B | B | 11.63 | 11.63
8 |  | Remich |  |  | DEn>LU | 38.4 | 21Z0000000000406 | Open Grid Europe |  | DE | NCG | 21Z0000000000406 |  | Creos Luxembourg | LU | BeLux | Y | N | 11.3 | 11.3
10 |  | Blaregnies L (BE) / Taisnières B (FR) |  |  | BEl>FRnL | 230 | 21Z000000000011D | Fluxys Belgium |  | BE | L-Zone | 21Z000000000011D |  | GRTgaz | FR | TRF | Y | N | 9.77 | 10.3
11 |  | Bocholtz |  |  | IB-NLn> | 395.8 | 21Z000000000071W | GTS |  | NL | Netherlands | 21Z000000000071W |  | Open Grid Europe | DE | NCG | Y | Y
[12 empty] | 21Z0000000002042 |  | Fluxys TENP | DE | NCG | Y | B | 11.4 | 11.6
|  | Bocholtz-Vetschau |  |  | IB-NLn> | 5.1 | 21Z000000000170U | GTS |  | NL | Netherlands | 21Z000000000170U |  | Thyssengas | DE | NCG | Y | Y | 10.6 | 12.5
12 |  | Zevenaar |  |  | IB-NLn> | 327.6 | 21Z000000000072U | GTS |  | NL | Netherlands | 21Z000000000072U |  | Open Grid Europe | DE | NCG | Y | Y
[14 empty] | Thyssengas | DE | NCG | Y | Y | 9.5 | 10.7
13 |  | Winterswijk |  |  | IB-NLn> | 178.6 | 21Z000000000073S | GTS |  | NL | Netherlands | 21Z000000000073S |  | Open Grid Europe | DE | NCG | Y | Y
14 |  | Vlieghuis |  |  | IB-NLg> | 72 | 21Z000000000135W | GTS |  | NL | Netherlands |  |  | RWE | DE | GASPOOL | Y | -
15 |  | Epe (DE) (Eneco) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | >IB-NLu | 93.6 |  | Eneco |  | DE |  | 21W000000000012G |  | GTS | NL | Netherlands | - | B
[5 empty] | IB-NLu> | 43.2893 | 21W000000000012G | GTS |  | NL | Netherlands |  |  | Eneco | DE |  | B | -
|  | Epe (DE) (Nuon) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | IB-NLu> | 77.9208 | 21Z000000000109X | GTS |  | NL | Netherlands | [5 empty] | B
[5 empty] | IB-STcDEmLmL> | 117.2334 | [5 empty] | 21Z000000000109X |  | GTS | NL | Netherlands |  | B
|  | Epe (DE) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | >IB-NLu | 103.488 | [5 empty] | 21Z000000000108Z |  | GTS | NL | Netherlands |  | B
[5 empty] | IB-NLu> | 47.51 | 21Z000000000108Z | GTS |  | NL | Netherlands |  |  | innogy | DE |  | B | -
16 |  | Bunde (DE) / Oude Statenzijl (H) (NL) (GASCADE) GTS entries at Emden EPT and Bunde/OSZ (OGE, GUD-H, GASCADE) are limited by a cluster capacity of 1.847,1 GWh/d, GTS exits at Bunde/OSZ (OGE, GUD-H, GASCADE) are limited to 504,0 GWh/d. |  |  | >IB-NLg | 298.1 | 21Z000000000074Q | GASCADE Gastransport |  | DE | GASPOOL | 21Z000000000074Q |  | GTS | NL | Netherlands | B | B
|  | Bunde (DE) / Oude Statenzijl (H) (NL) (GUD) GTS entries at Emden EPT and Bunde/OSZ (OGE, GUD-H, GASCADE) are limited by a cluster capacity of 1.847,1 GWh/d, GTS exits at Bunde/OSZ (OGE, GUD-H, GASCADE) are limited to 504,0 GWh/d. |  |  | >IB-NLg | 42.9 | 21Z000000000076M | Gasunie Deutschland |  | DE | GASPOOL | 21Z000000000076M |  | GTS | NL | Netherlands | - | B
[5 empty] | IB-NLg> | 63.1 | 21Z000000000076M | GTS |  | NL | Netherlands | 21Z000000000076M |  | Gasunie Deutschland | DE | GASPOOL | B | -
|  | Bunde (DE) / Oude Statenzijl (H) (NL) I (OGE) GTS entries at Emden EPT and Bunde/OSZ (OGE, GUD-H, GASCADE) are limited by a cluster capacity of 1.847,1 GWh/d, GTS exits at Bunde/OSZ (OGE, GUD-H, GASCADE) are limited to 504,0 GWh/d. |  |  | >IB-NLn | 162.2 | 21Z000000000075O | Open Grid Europe |  | DE | NCG | 21Z000000000075O |  | GTS | NL | Netherlands | B | B
[5 empty] | IB-NLn> | 71.5 | 21Z000000000075O | GTS |  | NL | Netherlands | 21Z000000000075O |  | Open Grid Europe | DE | NCG | B | B
|  | Bunde (DE) / Oude Statenzijl (L) (NL) (GTG Nord) |  |  | IB-NLg> | 70.195 | 21Z000000000079G | GTS |  | NL | Netherlands | 21Z000000000079G |  | Gastransport Nord | DE | GASPOOL | Y | Y | 9.74 | 9.74
|  | Bunde (DE) / Oude Statenzijl (L) (NL) (GUD) |  |  | IB-NLg> | 181.805 | 21Z000000000078I | GTS |  | NL | Netherlands | 21Z000000000078I |  | Gasunie Deutschland | DE | GASPOOL | Y | -
|  | Etzel (DE) (Crystal) / Oude Statenzijl (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | IB-NLu> | 64.3767 | 21W000000000013E | GTS |  | NL | Netherlands | [5 empty] | B
[5 empty] | IB-STcDEmm> | 103.222 | [5 empty] | 21W000000000013E |  | GTS | NL | Netherlands |  | B
|  | Etzel (DE) (EKB) / Oude Statenzijl Etzel (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | IB-NLu> | 68.8261 | 21W0000000000095 | GTS |  | NL | Netherlands | [5 empty] | B
[5 empty] | IB-STcDEmm> | 114.2417 | [5 empty] | 21W0000000000095 |  | GTS | NL | Netherlands |  | B
|  | Etzel (DE) (OMV) Freya / Oude Statenzijl Etzel Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | IB-NLu> | 71.8045 | 21W000000000014C | GTS |  | NL | Netherlands | [5 empty] | B
[5 empty] | IB-STcDEmm> | 91.2494 | [5 empty] | 21W000000000014C |  | GTS | NL | Netherlands |  | B
|  | Nüttermoor (DE) (EWE) H / Oude Statenzijl (H) (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | IB-NLu> | 51.6191 | 21Z000000000250W | GTS |  | NL | Netherlands | [5 empty] | B
[5 empty] | IB-STcDEmm> | 53.3601 | [5 empty] | 21Z000000000250W |  | GTS | NL | Netherlands |  | B
|  | Nüttermoor H-1 (DE) (EWE) Renato / Oude Statenzijl (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | >IB-NLu | 67.7101 |  | EWE Gasspeicher |  | DE |  | 21Z000000000077K |  | GTS | NL | Netherlands | - | B
[5 empty] | IB-NLu> | 48.72 | 21Z000000000077K | GTS |  | NL | Netherlands |  |  | EWE Gasspeicher | DE |  | B | -
18 |  | Bacton (IUK) |  |  | UK>UK/IUK | 651.7 | 21Z000000000083P | National Grid Gas |  | UK | UK | 21Z000000000084N |  | Interconnector | UK | IUK | B | B | 11 | 11.5
19 |  | Moffat |  |  | Y-UKm> | 476.2 | 21Z000000000081T | National Grid Gas |  | UK | UK | 21Z000000000081T |  | GNI | IE | Ireland | Y | Y | 11 | 11
[14 empty] | Premier Transmission | UK | NI | Y | Y | 11 | 11
21 |  | Oberkappel |  |  | >Y-DEno | 159.9 | 21Z000000000001G | Gas Connect Austria |  | AT | Austria | 21Z000000000001G |  | Open Grid Europe | DE | NCG | B | B
[12 empty] | 21Z000000000161V |  | GRTgaz Deutschland | DE | NCG | B | B | 11.2 | 11.2
[5 empty] | Y-DEno> | 199.4 | 21Z000000000001G | Open Grid Europe |  | DE | NCG | 21Z000000000001G |  | Gas Connect Austria | AT | Austria | B | B
[7 empty] | 21Z000000000161V | GRTgaz Deutschland |  | DE | NCG | 21Z000000000001G |  | Gas Connect Austria | AT | Austria | B | B | 11.2 | 11.2
22 |  | Obergailbach (FR) / Medelsheim (DE) |  |  | Y-DEnm> | 605.7 | 21Z000000000039S | Open Grid Europe |  | DE | NCG | 21Z000000000039S |  | GRTgaz | FR | TRF | Y | Y | 11.3 | 11.3
[7 empty] | 21Z0000000001208 | GRTgaz Deutschland |  | DE | NCG | 21Z000000000039S |  | GRTgaz | FR | TRF | Y | Y | 11.2 | 11.3
23 |  | Überackern ABG (AT) / Überackern (DE) GCA’s technical firm capacity at Überackern ABG is limited with a cluster capacity at Überackern SUDAL in the amount of 114,0 GWh/d in entry direction and 174,6 GWh/d in exit direction |  |  | AT>DEn | 0 | 21Z000000000002E | Gas Connect Austria |  | AT | Austria | 21Z000000000002E |  | bayernets | DE | NCG | B | B | 11.25 | 11.29
[14 empty] | Open Grid Europe | DE | NCG | B | B | 11.25 | 11.29
[5 empty] | DEn>AT | 0 | 21Z000000000002E | 21Z000000000002E |  |  | bayernets |  | 21Z000000000002E | Gas Connect Austria | AT | Austria | B | B | 11.25 | 11.29
[11 empty] | Open Grid Europe | [5 empty] | B | B | 11.25 | 11.29
|  | Überackern SUDAL (AT) / Überackern 2 (DE) |  |  | AT>DEn | 174.6 | 21Z0000000001240 | Gas Connect Austria |  | AT | Austria | 21Z0000000001240 |  | bayernets | DE | NCG | B | B | 11.25 | 11.29
[5 empty] | DEn>AT | 114 | 21Z0000000001240 | bayernets |  | DE | NCG | 21Z0000000001240 |  | Gas Connect Austria | AT | Austria | B | B | 11.25 | 11.29
25 |  | Murfeld (AT) / Ceršak (SI) |  |  | AT>SI | 112.5 | 21Z0000000000058 | Gas Connect Austria |  | AT | Austria | 21Z0000000000058 |  | Plinovodi | SI | Slovenia | Y | Y | 11.331 | 11.331
26 |  | Tarvisio (IT) / Arnoldstein (AT) |  |  | >IB-ITe | 1148.8 | 21Z000000000004A | TAG |  | AT | Austria | 21Z000000000004A |  | Snam Rete Gas | IT | Italy | - | B | 11.19 | 11.35
[5 empty] | IB-ITe> | 193.3 | 21Z000000000004A | Snam Rete Gas |  | IT | Italy | 21Z000000000004A |  | TAG | AT | Austria | B | - | 11.19 | 11.326
27 |  | Griespass (CH) / Passo Gries (IT) |  |  | >IB-ITe | 635.4 |  | FluxSwiss |  | CH | Switzerland | 21Z0000000002107 |  | Snam Rete Gas | IT | Italy | B | B | 11.361 | 11.38
[8 empty] | Swissgas |  | CH | Switzerland | 21Z0000000002107 |  | Snam Rete Gas | IT | Italy | - | B | 11.361 | 11.361
[5 empty] | IB-ITe> | 428.5 | 21Z0000000002107 | Snam Rete Gas |  | IT | Italy |  |  | FluxSwiss | CH | Switzerland | B | B | 11.3 | 11.38
[14 empty] | Swissgas | CH | Switzerland | B | - | 11.3 | 11.3
28 |  | Wallbach |  |  | CH>DEn | 172.8 |  | FluxSwiss |  | CH | Switzerland | 21Z0000000001216 |  | Fluxys TENP | DE | NCG | B | B | 11.38 | 11.56
[12 empty] | 21Z0000000001232 |  | Open Grid Europe | DE | NCG | B | Y
[5 empty] | DEn>CH | 317.94 | 21Z0000000001216 | Fluxys TENP |  | DE | NCG |  |  | FluxSwiss | CH | Switzerland | B | B | 11.375 | 11.56
[14 empty] | Swissgas | CH | Switzerland | B | - | 11.38 | 11.56
[7 empty] | 21Z0000000001232 | Open Grid Europe |  | DE | NCG |  |  | FluxSwiss | CH | Switzerland | Y | B | 11.375 | 11.375
[14 empty] | Swissgas | CH | Switzerland | Y | -
29 |  | Gorizia (IT) /Šempeter (SI) |  |  | IT>SI | 28.3 | 21Z000000000044Z | Snam Rete Gas |  | IT | Italy | 21Z000000000044Z |  | Plinovodi | SI | Slovenia | B | B | 11.312 | 11.319
[5 empty] | SI>IT | 21.4 | 21Z000000000044Z | Plinovodi |  | SI | Slovenia | 21Z000000000044Z |  | Snam Rete Gas | IT | Italy | B | B | 11.308 | 11.319
30 |  | Rogatec |  |  | HR>SI | 7.7 |  | Plinacro Ltd |  | HR | Croatia | 21Z000000000128T |  | Plinovodi | SI | Slovenia | - | B | 11.3 | 11.331
[5 empty] | SI>HR | 53.7 | 21Z000000000128T | Plinovodi |  | SI | Slovenia | 21Z000000000128T |  | Plinacro Ltd | HR | Croatia | B | - | 11.3 | 11.331
31 |  | Oltingue (FR) / Rodersdorf (CH) |  |  | >IB-FR1 | 100 |  | FluxSwiss |  | CH | Switzerland | 21Z000000000037W |  | GRTgaz | FR | TRF | B | B
[8 empty] | Swissgas |  | CH | Switzerland | 21Z000000000037W |  | GRTgaz | FR | TRF | - | B
[5 empty] | IB-FR1> | 223 | 21Z000000000037W | GRTgaz |  | FR | TRF |  |  | FluxSwiss | CH | Switzerland | B | B | 11.457 | 11.457
[14 empty] | Swissgas | CH | Switzerland | B | -
36 |  | Ellund |  |  | >Y-DKe | 166.5 | 21Z0000000000260 | Open Grid Europe |  | DE | NCG | 21Z0000000000260 |  | Energinet | DK | Denmark | B | B | 11.2 | 11.2
[7 empty] | 21Z000000000144V | Gasunie Deutschland |  | DE | GASPOOL | 21Z0000000000260 |  | Energinet | DK | Denmark | - | B | 11.2 | 11.2
[5 empty] | Y-DKe> | 91 | 21Z0000000000260 | Energinet |  | DK | Denmark | 21Z0000000000260 |  | Open Grid Europe | DE | NCG | B | B | 12.1 | 12.1
[12 empty] | 21Z000000000144V |  | Gasunie Deutschland | DE | GASPOOL | B | - | 12.1 | 12.1
38 |  | Mallnow |  |  | DEg>PL/YAM | 184.8 | 21Z000000000056S | GASCADE Gastransport |  | DE | GASPOOL | 21Z000000000056S |  | GAZ-SYSTEM (ISO) | PL | YAMAL (TGPS) | B | B | 11.078 | 11.078
[5 empty] | PL/YAM>DEg | 931.5 | 21Z000000000056S | GAZ-SYSTEM (ISO) |  | PL | YAMAL (TGPS) | 21Z000000000056S |  | GASCADE Gastransport | DE | GASPOOL | B | B | 11.078 | 11.078
40 |  | Brandov STEGAL (CZ) / Stegal (DE) |  |  | CZ>DEg | 0 | 21Z000000000091Q | NET4GAS |  | CZ | Czech | 21Z000000000091Q |  | GASCADE Gastransport | DE | GASPOOL | N | N | 11.19 | 11.2
|  | Olbernhau (DE) / Hora Svaté Kateřiny (CZ) Presented capacity at this point does not reflect current situation between DE GASPOOL and CZ market zones. NET4GAS offers free capacity between these market zones only at VIP Brandov-GASPOOL. |  |  | DEg>CZ | 287.7 | 21Z000000000092O | GASCADE Gastransport |  | DE | GASPOOL | 21Z000000000092O |  | NET4GAS | CZ | Czech | N | -
41 |  | Hora Svaté Kateřiny (CZ) / Deutschneudorf (Sayda) (DE) Presented capacity at this point does not reflect current situation between DE GASPOOL and CZ market zones. NET4GAS offers free capacity between these market zones only at VIP Brandov-GASPOOL. |  |  | CZ>DEg | 14.9243 | 21Z0000000000228 | NET4GAS |  | CZ | Czech | 21Z0000000000228 |  | ONTRAS | DE | GASPOOL | - | B | 11.219 | 11.231
[5 empty] | DEg>CZ | 95.04 | 21Z0000000000228 | ONTRAS |  | DE | GASPOOL | 21Z0000000000228 |  | NET4GAS | CZ | Czech | B | - | 11.219 | 11.231
42 |  | Brandov-OPAL (DE) Presented capacity at this point does not reflect current situation between DE GASPOOL and CZ market zones. NET4GAS offers free capacity between these market zones only at VIP Brandov-GASPOOL. |  |  | >Y-CZb | 951.874 |  | OPAL Gastransport |  | DE |  | 21Z000000000242V |  | NET4GAS | CZ | Czech | Y | -
[7 empty] | 21Z000000000242V | LBTG |  | DE |  | 21Z000000000242V |  | NET4GAS | CZ | Czech | - | -
[8 empty] | OPAL Gastransport |  | DE | GASPOOL | 21Z000000000242V |  | NET4GAS | CZ | Czech | Y | -
43 |  | Waidhaus No firm capacity is offered to exit from DE side, on CZ side an entry capacity of 120 GWh/d is available. Since 03/2019 VIP Waidhaus is in operation. |  |  | IB-CZw> | 906.9 | 21Z0000000000236 | NET4GAS |  | CZ | Czech | 21Z0000000000236 |  | Open Grid Europe | DE | NCG | Y | Y | 11.19 | 11.23
[12 empty] | 21Z000000000162T |  | GRTgaz Deutschland | DE | NCG | Y | Y | 11.19 | 11.23
44 |  | Cieszyn (PL) / Český Těšín (CZ) CZ>PL: 4,3 GWh/d from May to September |  |  | CZ>PL | 28 | 21Z000000000239K | NET4GAS |  | CZ | Czech | 21Z000000000239K |  | GAZ-SYSTEM | PL | Poland E-gas | N | Y | 11.22 | 11.25
45 |  | Lanžhot |  |  | CZ>SK | 913.7 | 21Z000000000061Z | NET4GAS |  | CZ | Czech | 21Z000000000061Z |  | eustream | SK | Slovakia | B | B | 11.16 | 11.23
[5 empty] | SK>CZ | 400.4 | 21Z000000000061Z | eustream |  | SK | Slovakia | 21Z000000000061Z |  | NET4GAS | CZ | Czech | B | B | 11.16 | 11.23
46 |  | Baumgarten |  |  | AT>SK | 246.5 |  | Gas Connect Austria |  | AT | Austria | 21Y---A001A023-Y |  | eustream | SK | Slovakia | - | B | 11.16 | 11.16
[7 empty] | 21Z000000000163R | Gas Connect Austria |  | AT | Austria | 21Y---A001A023-Y |  | eustream | SK | Slovakia | B | B | 11.16 | 11.16
[7 empty] | 21Z000000000164P | TAG |  | AT | Austria | 21Y---A001A023-Y |  | eustream | SK | Slovakia | Y | B | 11.16 | 11.19
[7 empty] | 21Z000000000175K | Gas Connect Austria |  | AT | Austria | 21Y---A001A023-Y |  | eustream | SK | Slovakia | - | B | 11.16 | 11.16
[5 empty] | SK>AT | 1570.4 | 21Y---A001A023-Y | eustream |  | SK | Slovakia | 21Z0000000000600 |  | Gas Connect Austria | AT | Austria | B | Y | 11.16 | 11.16
[12 empty] | 21Z000000000163R |  | Gas Connect Austria | AT | Austria | B | B | 11.16 | 11.16
[12 empty] | 21Z000000000164P |  | TAG | AT | Austria | B | - | 11.16 | 11.19
47 |  | Mosonmagyarovar |  |  | AT>HU | 153.1 | 21Z000000000003C | Gas Connect Austria |  | AT | Austria | 21Z000000000003C |  | FGSZ | HU | Hungary | Y | Y | 11.25 | 11.4
48 |  | Kiskundorozsma (HU>RS) |  |  | HU>RS | 142 | 21Z000000000154S | FGSZ |  | HU | Hungary |  |  | Srbijagas | RS |  | N | - | 11.27 | 11.42
49 |  | Zvornik |  |  | RS>BA | 17.98 |  | Srbijagas |  | RS |  |  |  | BH Gas | BA |  | - | -
50 |  | Kyustendil (BG) / Zidilovo (MK) |  |  | BGg/BGT>MK | 20.38 | 21Z000000000137S | Bulgartransgaz |  | BG | GTNTT-BG |  |  | GA-MA - Skopje | MK |  | N | N | 9.53 | 11.35
51 |  | Kulata (BG) / Sidirokastron (GR) |  |  | BGg/BGT>GR | 117.05 | 21Z000000000020C | Bulgartransgaz |  | BG | GTNTT-BG | 21Z000000000020C |  | DESFA | GR | Greece | B | B | 11.35 | 11.35
[5 empty] | GR>BGg/BGT | 46.53 | 21Z000000000020C | DESFA |  | GR | Greece | 21Z000000000020C |  | Bulgartransgaz | BG | GTNTT-BG | B | B | 11.35 | 11.35
52 |  | Strandzha (BG) / Malkoclar (TR) |  |  | BGg/BGT>TRe | 477 | 21Z000000000157M | Bulgartransgaz |  | BG | GTNTT-BG |  |  | Botas | TR |  | N | - | 11.35 | 11.35
53 |  | Negru Voda I (RO) / Kardam (BG) No data is published by the Romanian TSO in the BG>RO direction |  |  | RO/TBP>BGn | 187.8 | 21Z000000000159I | Transgaz |  | RO | RO_DTS | 21Z000000000159I |  | Bulgartransgaz | BG | NGTN-BG | N | Y | 11.325 | 11.35
|  | Negru Voda II, III (RO) / Kardam (BG) On BG side there is only one physical point - Negru Voda 2, 3 (RO) /Kardam (BG). On RO site, there are two separate points - Negru Voda II and Negru Voda III. No data is published by the Romanian TSO in the BG>RO direction. |  |  | RO/TBP>BGg/BGT | 541.1 | 21Z0000000003022 | Transgaz |  | RO | RO_DTS | 21Z000000000160X |  | Bulgartransgaz | BG | GTNTT-BG | N | N | 11.35 | 11.355
[7 empty] | 21Z0000000003030 | Transgaz |  | RO | RO_DTS | 21Z000000000160X |  | Bulgartransgaz | BG | GTNTT-BG | N | N | 11.327 | 11.35
54 |  | Karksi Flow from Estonia to Latvia is available only as virtual reverse flow. Its capacity depends on nominated physical flow from Latvia to Estonia. |  |  | LV>EE | 63 | 21Z000000000152W | Conexus |  | LV | Latvia | 21Z000000000152W |  | Elering | EE | Estonia | Y | Y | 11.271 | 11.3
55 |  | Kiemenai |  |  | LT>LV | 67.6 | 21Z000000000153U | Amber Grid |  | LT | Lithuania | 21Z000000000153U |  | Conexus | LV | Latvia | B | B | 11.183 | 11.93
[5 empty] | LV>LT | 65.1 | 21Z000000000153U | Conexus |  | LV | Latvia | 21Z000000000153U |  | Amber Grid | LT | Lithuania | B | B | 11.183 | 11.93
56 |  | Sakiai |  |  | LT>RUk | 114.2 | 21Z0000000001305 | Amber Grid |  | LT | Lithuania |  |  | Gazprom | RU |  | N | - | 11.192 | 11.667
57 |  | Csanadpalota |  |  | HU>RO | 52.1 | 21Z000000000236Q | FGSZ |  | HU | Hungary | 21Z000000000236Q |  | Transgaz | RO | RO_NTS | B | N | 11.12 | 11.45
[5 empty] | RO>HU | 2.5 | 21Z000000000236Q | Transgaz |  | RO | RO_NTS | 21Z000000000236Q |  | FGSZ | HU | Hungary | N | B | 11.02 | 11.3
58 |  | Dravaszerdahely |  |  | HU>HR | 78.3 | 21Z000000000249H | FGSZ |  | HU | Hungary | 21Z000000000249H |  | Plinacro Ltd | HR | Croatia | B | - | 11.27 | 11.42
59 |  | Dolni Bojanovice Capacity is offered with the aggregated capacity of the IP Lanžhot |  |  | >Y-STcCZdd | 74.34 |  | eustream |  | SK | Slovakia |  |  | SPP Storage | CZ |  | - | -
[5 empty] | Y-STcCZdd> | 95.58 |  | SPP Storage |  | CZ |  |  |  | eustream | SK | Slovakia | - | -
60 |  | Láb (SK) / Láb IV (AT) |  |  | >IB-STcSKmm | 138.3 |  | Gas Connect Austria |  | AT | Austria |  |  | NAFTA | SK |  | - | -
[14 empty] | POZAGAS | SK |  | - | -
[5 empty] | IB-STcSKmm> | 138.3 |  | NAFTA |  | SK |  |  |  | Gas Connect Austria | AT | Austria | - | -
[8 empty] | POZAGAS |  | SK |  |  |  | Gas Connect Austria | AT | Austria | - | -
61 |  | Haiming 2 7F |  |  | >IB-STcATmm | 37.9 | 21Z000000000272M | bayernets |  | DE | NCG | [5 empty] | B |  | 11.27 | 11.34
[8 empty] | Open Grid Europe |  | DE | NCG | [5 empty] | B
[5 empty] | IB-STcATmm> | 5.3 | [5 empty] | 21Z000000000272M |  | bayernets | DE | NCG |  | B | 11.27 | 11.34
[14 empty] | Open Grid Europe | DE | NCG |  | B
|  | Haiming 2-RAGES/bn |  |  | DEn>STcATn | 5.424 | 21Z000000000445H | bayernets |  | DE | NCG |  |  | RAG | AT |  | B | - | 11.27 | 11.34
[5 empty] | STcATn>DEn | 1 |  | RAG |  | AT |  | 21Z000000000445H |  | bayernets | DE | NCG | - | B | 11.27 | 11.34
62 |  | Haidach (AT) / Haidach USP (DE) |  |  | DEn>STcATn | 267.76 | 21Z000000000125Z | bayernets |  | DE | NCG |  |  | astora | AT |  | B | - | 11.25 | 11.29
[14 empty] | GSA LLC | AT |  | B | - | 11.25 | 11.29
[5 empty] | STcATn>DEn | 299.9456 |  | astora |  | AT |  | 21Z000000000125Z |  | bayernets | DE | NCG | - | B | 11.25 | 11.29
[8 empty] | GSA LLC |  | AT |  | 21Z000000000125Z |  | bayernets | DE | NCG | - | B | 11.25 | 11.29
63 |  | Haanrade |  |  | IB-NLn> | 1.896 | 21Z000000000240Z | GTS |  | NL | Netherlands | 21Z000000000240Z |  | Thyssengas | DE | NCG | N | -
66 |  | Bizzarone |  |  | IT>CH | 12.9 | 21Z000000000277C | Snam Rete Gas |  | IT | Italy | [5 empty] | N |  | 11.364 | 11.364
67 | V | VIP IBERICO |  |  | ES>PT | 144 | 21Z000000000282J | Enagas |  | ES | Spain | 21Z000000000282J |  | REN - Gasodutos | PT | Portugal | B | B | 11.765 | 11.9
[5 empty] | PT>ES | 80 | 21Z000000000282J | REN - Gasodutos |  | PT | Portugal | 21Z000000000282J |  | Enagas | ES | Spain | B | B | 11.765 | 11.9
68 |  | Jura |  |  | FR>CH | 37.4 | 21Z0000000003786 | GRTgaz |  | FR | TRF |  |  | Gaznat | CH | Switzerland | Y | -
69 | V | VIP Kiefersfelden-Pfronten |  |  | DEn>AT | 23 | 21Z0000000002895 | bayernets |  | DE | NCG | [5 empty] | N |  | 11.25 | 11.31
70 |  | Tegelen |  |  | IB-NLn> | 4.728 | 21Z000000000117Y | GTS |  | NL | Netherlands | 21Z000000000117Y |  | Open Grid Europe | DE | NCG | Y | -
71 |  | Budince |  |  | SK>UAe | 416 | 21Z000000000357E | eustream |  | SK | Slovakia |  |  | PJSC Ukrtransgaz | UA |  | B | - | 11.16 | 11.16
[5 empty] | UAe>SK | 249.6 |  | PJSC Ukrtransgaz |  | UA |  | 21Z000000000357E |  | eustream | SK | Slovakia | - | B | 11.16 | 11.16
72 |  | Ungheni |  |  | RO>MD | 1.3 | 21Z000000000356G | Transgaz |  | RO | RO_NTS |  |  | Vestmoldtransgaz | MD |  | N | - | 11.33 | 11.33
74 |  | Jemgum (DE) (astora) / Oude Statenzijl (NL) |  |  | IB-NLu> | 138.8051 | 21Z000000000351Q | GTS |  | NL | Netherlands | [5 empty] | B
[5 empty] | IB-STcDEmm> | 193.1083 | [5 empty] | 21Z000000000351Q |  | GTS | NL | Netherlands |  | B
|  | Jemgum (DE) (EWE) / Oude Statenzijl (NL) |  |  | IB-NLu> | 138.8051 | 21W000000000021F | GTS |  | NL | Netherlands | [5 empty] | B
[5 empty] | IB-STcDEmm> | 193.1083 | [5 empty] | 21W000000000021F |  | GTS | NL | Netherlands |  | B
75 |  | Balassagyarmat (HU) / Velké Zlievce (SK) |  |  | SK>HUi | 126.965 | 21Z000000000358C | eustream |  | SK | Slovakia |  |  | MGT | HU |  | B | - | 11.16 | 11.16
76 | V | VIP PIRINEOS |  |  | >IB-FR4 | 224.4 | 21Z000000000285D | Enagas |  | ES | Spain | 21Z000000000285D |  | TERÉGA | FR | TRF | B | B | 11.678 | 11.678
[5 empty] | IB-FR4> | 165 | 21Z000000000285D | TERÉGA |  | FR | TRF | 21Z000000000285D |  | Enagas | ES | Spain | B | B | 11.678 | 11.678
77 |  | RC Basel |  |  | DEn>CH | 8.8 | 21Z000000000253Q | terranets bw |  | DE | NCG |  |  | GVM | CH | Switzerland | N | - | 11.193 | 11.651
78 |  | RC Lindau |  |  | DEn>AT | 25.4 | 21Z000000000252S | terranets bw |  | DE | NCG |  |  | Vorarlberger Erdgas | AT | Austria | N | - | 11.212 | 11.572
81 |  | Misso Izborsk This is a virtual transit point trough Estonia between Russia and Latvia. No metering station in Estonia. |  |  | >IB-RUek | 105 | 38ZEEG-0007107-I | Elering |  | EE |  |  |  | Gazprom | RU |  | - | - | 11.3 | 11.3
[5 empty] | IB-RUek> | 178.5 |  | Gazprom |  | RU |  | 38ZEEG-0007107-I |  | Elering | EE |  | - | - | 11.3 | 11.3
82 | V | GCP GAZ-SYSTEM/ONTRAS According to Art. 19 (9) of CAM NC, ONTRAS and GAZ-SYSTEM to agreed to offer the capacity at one virtual interconnection point - GCP GAZ-SYSTEM/ONTRAS |  |  | DEg>PL | 48.7 | 21Z000000000456C | ONTRAS |  | DE | GASPOOL | 21Z000000000456C |  | GAZ-SYSTEM | PL | Poland E-gas | B | B | 11.15 | 11.306
[5 empty] | PL>DEg | 0.1 | 21Z000000000456C | GAZ-SYSTEM |  | PL | Poland E-gas | 21Z000000000456C |  | ONTRAS | DE | GASPOOL | B | B | 11.15 | 11.306
83 |  | Ruse (BG) / Giurgiu (RO) |  |  | BGn>RO | 7.9 | 21Z0000000002798 | Bulgartransgaz |  | BG | NGTN-BG | 21Z0000000002798 |  | Transgaz | RO | RO_NTS | N | N | 11.327 | 11.35
[5 empty] | RO>BGn | 1.6 | 21Z0000000002798 | Transgaz |  | RO | RO_NTS | 21Z0000000002798 |  | Bulgartransgaz | BG | NGTN-BG | N | N | 11.35 | 11.382
84 | V | VIP Brandov-GASPOOL NET4GAS offers free capacity between these market zones only at VIP Brandov-GASPOOL. VIP capacity at CZ side was re-allocated to old IP points just to prevent any unnecessary capacity cut due to Lesser-Of Rule and for purpose of this map. |  |  | CZ>DEg | 183.4 | 21Z0000000004863 | NET4GAS |  | CZ | Czech | 21Z0000000004863 |  | GASCADE Gastransport | DE | GASPOOL | - | -
[5 empty] | DEg>CZ | 72.2 | 21Z0000000004863 | GASCADE Gastransport |  | DE | GASPOOL | 21Z0000000004863 |  | NET4GAS | CZ | Czech | - | -
86 | V | VIRTUALYS Virtualys is virtualising 'Alveringem' and 'Taisnieres H/Blaregnies Segeo/Troll' since 1 Dec 2017 |  |  | >IB-FR1 | 620 | 21Z0000000004847 | Fluxys Belgium |  | BE | BeLux | 21Z0000000004847 |  | GRTgaz | FR | TRF | B | B | 11.56 | 11.63
[5 empty] | IB-FR1> | 270 | 21Z0000000004847 | GRTgaz |  | FR | TRF | 21Z0000000004847 |  | Fluxys Belgium | BE | BeLux | B | B | 11.63 | 11.63
120 |  | Rep. San Marino |  |  | IT>SM | 4.2 | 21Z000000000276E | Snam Rete Gas |  | IT | Italy | [5 empty] | N |  | 11.1 | 11.1
Intra-Balancing Zone Point
100 |  | Nybro |  |  | IB-NPcDKn> | 396 |  | DONG |  | DK | Denmark | 21Z0000000000252 |  | Energinet | DK | Denmark | - | Y | 12.1 | 12.1
103 |  | Kienbaum |  |  | DEg>DEn | 66.6 | 37Z000000001078I | GASCADE Gastransport |  | DE | GASPOOL | 37Z000000001078I |  | Open Grid Europe | DE | NCG | Y | Y
104 |  | Broichweiden Süd |  |  | DEg>DEn | 4.8 | 37Z000000004913W | GASCADE Gastransport |  | DE | GASPOOL | 37Z000000004913W |  | Thyssengas | DE | NCG | Y | Y | 10.6 | 11.7
105 |  | Lampertheim IV |  |  | DEg>DEn | 27.4 | 37Z000000001442N | GASCADE Gastransport |  | DE | GASPOOL | 37Z000000001442N |  | terranets bw | DE | NCG | Y | Y | 11.137 | 11.417
109 |  | Emsbüren-Berge |  |  | DEg>DEn | 6.6 | 37Z000000004972G | Gasunie Deutschland |  | DE | GASPOOL | 37Z000000004972G |  | Thyssengas | DE | NCG | - | Y | 11.17 | 12.8
113 |  | Steinitz |  |  | DEg>DEn | 66.6 | 21Z000000000237O | ONTRAS |  | DE | GASPOOL | 21Z000000000237O |  | Open Grid Europe | DE | NCG | B | B | 11.356 | 11.465
[5 empty] | DEn>DEg | 34.4 | 21Z000000000237O | Open Grid Europe |  | DE | NCG | 21Z000000000237O |  | ONTRAS | DE | GASPOOL | B | B | 11.356 | 11.465
119 |  | Gernsheim |  |  | DEg>DEn/MEG | 106.6 | 37Z000000006481P | GASCADE Gastransport |  | DE | GASPOOL | 37Z000000006481P |  | GRTgaz Deutschland | DE | NCG | B | B | 11.2 | 11.2
125 | V | Point of Interconnection (PWP) (PL) |  |  | PL/YAM>PL | 275.5 | 21Z000000000399Z | GAZ-SYSTEM (ISO) |  | PL | YAMAL (TGPS) | 21Z000000000399Z |  | GAZ-SYSTEM | PL | Poland E-gas | Y | Y | 11.078 | 11.078
126 | V | Zone L-Gas GUD/OGE |  |  | DEgL>DEnL | 36.17 | 37Y000000000288Q | Gasunie Deutschland |  | DE | GASPOOL | 37Y000000000288Q |  | Open Grid Europe | DE | NCG | - | -
127 |  | Carrickfergus |  |  | UKn>UKn/BGI | 42 | 21Z0000000003964 | Premier Transmission |  | UK | NI | 21Z0000000003964 |  | GNI (UK) | UK | NI | B | Y
128 |  | Vecsés MGT / FGSZ |  |  | HU>HUi | 51.46 |  | FGSZ |  | HU | Hungary |  |  | MGT | HU |  | B | - | 11.33 | 11.39
[5 empty] | HUi>HU | 129.39 |  | MGT |  | HU |  |  |  | FGSZ | HU | Hungary | - | B | 11.3 | 11.39
131 | V | Zone GASCADE / OGE |  |  | DEg>DEn | 14.9 | 37Y000000000385S | GASCADE Gastransport |  | DE | GASPOOL | 37Y000000000385S |  | Open Grid Europe | DE | NCG | Y | B
132 | V | Transfer Point NGTN <-> GTNTT |  |  | BGg/BGT>BGn | 42.28 | [5 empty] | 58Z-TRANSFERNT-E |  | Bulgartransgaz | BG | NGTN-BG |  | N | 11.35 | 11.35
[5 empty] | BGn>BGg/BGT | 21.14 | 58Z-TRANSFERNT-E | Bulgartransgaz |  | BG | NGTN-BG | [5 empty] | N |  | 11.35 | 11.35
133 |  | VIP L GASPOOL-NCG VIP for Ahlten, Steinbrink, Drohne GUD/OGE, Nordlohne, Emsbueren RG (L-gas) |  |  | DEgL>DEnL | 70.4 | 37Z000000007353T | Nowega |  | DE | GASPOOL | [5 empty] | -
134 |  | GDLux (BE) / Bras Petange (LU) |  |  | BEh>LU | 48.8 | 21Z0000000001070 | Fluxys Belgium |  | BE | BeLux | 21Z0000000001070 |  | Creos Luxembourg | LU | BeLux | Y | N | 11.63 | 11.63
Cross-border IP with non-EU (import)
200 |  | St. Fergus |  |  | NO>UK | 705.8 |  | Gassco |  | NO |  | 21YSF-EC-------Q |  | National Grid Gas | UK | UK | N | N | 11 | 11
201 |  | Dornum (EPT1 & EPT2) |  |  | Y-NOd> | 422.7 |  | Gassco |  | NO |  | 21Z000000000053Y |  | Gasunie Deutschland | DE | GASPOOL | N | -
[14 empty] | jordgas Transport | DE | GASPOOL | N | -
[14 empty] | Open Grid Europe | DE | NCG | N | Y
202 |  | Emden (EPT1) GTS entries at Emden EPT and Bunde/OSZ (OGE, GUD-H, GASCADE) are limited by a cluster capacity of 1.517,9 GWh/d. |  |  | Y-NOp> | 1481.558 |  | Gassco |  | NO |  | 21Z0000000000503 |  | Open Grid Europe | DE | NCG | N | Y
[12 empty] | 21Z0000000000511 |  | Gasunie Deutschland | DE | GASPOOL | N | -
[12 empty] | 21Z000000000055U |  | GTS | NL | Netherlands | N | Y
[12 empty] | 21Z000000000145T |  | Thyssengas | DE | NCG | N | N
204 |  | Zeebrugge ZPT |  |  | >IB-BEhz | 488 |  | Gassco |  | NO |  | 21Z000000000046V |  | Fluxys Belgium | BE | BeLux | Y | Y | 11.63 | 11.63
205 |  | Dunkerque |  |  | >IB-FR2 | 570 |  | Gassco |  | NO |  | 21Z000000000047T |  | GRTgaz | FR | TRF | N | N | 11.4 | 11.45
206 |  | Easington |  |  | NO>UK | 793.3 |  | Gassco |  | NO |  | 21YEA-EC-------9 |  | National Grid Gas | UK | UK | N | N | 11 | 11
207 |  | Tarifa |  |  | DZ>ES | 442.7 |  | EMPL |  | DZ |  | 21Z000000000045X |  | Enagas | ES | Spain | - | N | 11.65 | 11.65
208 |  | Almería |  |  | DZ>ES | 289 |  | Medgaz |  | DZ |  | 21Z0000000002131 |  | Enagas | ES | Spain | - | N | 11.67 | 11.67
209 |  | Mazara del Vallo SRG entry points at Mazara and Gela are limited by a cluster capacity of 1385,3 Gwh/d |  |  | >IB-ITi | 1150.3 |  | TMPC |  | DZ |  | 21Z000000000080V |  | Snam Rete Gas | IT | Italy | - | N | 11.782 | 11.782
210 |  | Gela SRG entry points at Mazara and Gela are limited by a cluster capacity of 1385,3 Gwh/d |  |  | >IB-ITi | 499 |  | Green Stream |  | LY |  | 21Z000000000149L |  | Snam Rete Gas | IT | Italy | - | N | 11.599 | 11.599
211 |  | Imatra |  |  | RUm>FI | 220 |  | Gazprom |  | RU |  | 21Z000000000059M |  | Gasum Oy | FI | Finland | - | N | 11.083 | 11.49
212 |  | Korneti Non-CAM relevant point due to the derogation held by Estonia according to the Article 49 of the Gas directive |  |  | EEm/MIS>LV | 178.5 | 38ZEEG-0007108-F | Elering |  | EE |  | 21Z000000000155Q |  | Conexus | LV | Latvia | - | B | 11.248 | 11.3
[5 empty] | LV>EEm/MIS | 105 | 21Z000000000155Q | Conexus |  | LV | Latvia | 38ZEEG-0007108-F |  | Elering | EE |  | B | - | 11.248 | 11.3
213 |  | Kotlovka |  |  | BY>LT | 325.4 |  | Gazprom Belarus |  | BY |  | 21Z000000000156O |  | Amber Grid | LT | Lithuania | - | N | 11.158 | 11.32
214 |  | Tieterowka |  |  | BY>PL | 7.3 |  | Gazprom Belarus |  | BY |  | 21Z0000000001321 |  | GAZ-SYSTEM | PL | Poland E-gas | - | N | 11.27 | 11.27
215 |  | Kondratki |  |  | BY>PL/YAM | 1024.3 |  | Gazprom Belarus |  | BY |  | 21Z0000000000066 |  | GAZ-SYSTEM (ISO) | PL | YAMAL (TGPS) | - | N | 11.078 | 11.078
216 |  | Wysokoje |  |  | BY>PL | 169.1 |  | Gazprom Belarus |  | BY |  | 21Z000000000136U |  | GAZ-SYSTEM | PL | Poland E-gas | - | N | 11.27 | 11.27
217 |  | Drozdovichi (UA) -Drozdowicze (PL) |  |  | UA>PL | 135.6 | 21Z000000000143X | PJSC Ukrtransgaz |  | UA |  | 21Z000000000143X |  | GAZ-SYSTEM | PL | Poland E-gas | - | N | 11.3 | 11.3
218 |  | Uzhgorod (UA) - Velké Kapušany (SK) |  |  | UA>SK | 2028 | 21Z000000000384B | PJSC Ukrtransgaz |  | UA |  | 21Z000000000085L |  | eustream | SK | Slovakia | - | N | 11.16 | 11.16
[7 empty] | 21Z0000000003859 | PJSC Ukrtransgaz |  | UA |  | 21Z000000000085L |  | eustream | SK | Slovakia | - | N | 11.16 | 11.16
[7 empty] | 21Z0000000003867 | PJSC Ukrtransgaz |  | UA |  | 21Z000000000085L |  | eustream | SK | Slovakia | - | N | 11.16 | 11.16
[7 empty] | 21Z0000000003875 | PJSC Ukrtransgaz |  | UA |  | 21Z000000000085L |  | eustream | SK | Slovakia | - | N | 11.16 | 11.16
219 |  | Beregdaróc 1400 (HU) - Beregovo (UA) (UA>HU) |  |  | UA>HU | 516.6 | 21Z000000000139O | PJSC Ukrtransgaz |  | UA |  | 21Z000000000139O |  | FGSZ | HU | Hungary | - | N | 11.27 | 11.41
221 |  | Isaccea (RO) - Orlovka (UA) I |  |  | UA>RO/TBP | 202.1 | 21Z000000000304Z | PJSC Ukrtransgaz |  | UA |  | 21Z000000000304Z |  | Transgaz | RO | RO_DTS | - | N | 11.325 | 11.325
|  | Isaccea (RO) - Orlovka (UA) II |  |  | UA>RO/TBP | 289.7 | 21Z000000000305X | PJSC Ukrtransgaz |  | UA |  | 21Z000000000305X |  | Transgaz | RO | RO_DTS | - | N | 11.355 | 11.355
|  | Isaccea (RO) - Orlovka (UA) III |  |  | UA>RO/TBP | 251.4 | 21Z000000000306V | PJSC Ukrtransgaz |  | UA |  | 21Z000000000306V |  | Transgaz | RO | RO_DTS | - | N | 11.327 | 11.327
222 |  | Kipi (TR) / Kipi (GR) |  |  | >IB-GRk | 48.59 |  | Botas |  | TR |  |  |  | IGI Poseidon | GR | Greece | - | -
[12 empty] | 21Z000000000233W |  | DESFA | GR | Greece | - | Y | 11.301 | 11.301
223 |  | Värska |  |  | IB-RUen> | 35.7 |  | Gazprom |  | RU |  | 38ZEEG-0007102-X |  | Elering | EE | Estonia | - | N | 11.3 | 11.3
224 |  | Greifswald Since 1st of October 2015, the TSO GOAL has been merged into Gasunie Deutschland. |  |  | Y-RUg/NOS> | 1742 |  | Nord Stream |  | RU |  |  |  | LBTG | DE |  | - | -
[14 empty] | OPAL Gastransport | DE |  | - | N
[12 empty] | 21Z000000000241X |  | LBTG | DE | GASPOOL | - | -
[14 empty] | OPAL Gastransport | DE | GASPOOL | - | N
[12 empty] | 21Z000000000255M |  | Fluxys Deutschland | DE | GASPOOL | - | Y
[14 empty] | Gasunie Deutschland | DE | GASPOOL | - | -
[14 empty] | GOAL | DE | GASPOOL | - | -
[14 empty] | NEL Gastransport | DE | GASPOOL | - | N
226 | V | VIP Mediesu Aurit - Isaccea (RO-UA) |  |  | UA>RO | 370.9 |  | PJSC Ukrtransgaz |  | UA |  | 21Z000000000373G |  | Transgaz | RO | RO_NTS | - | N | 11.357 | 11.357
227 |  | Misso / Estonia This point is a connection between the Misso transit pipeline and the rest of the Estonian network, allowing Elering to get a share of the gas flowing either from Russia or from Latvia through the Misso transit pipeline. |  |  | EEm/MIS>EE | 0.3 | [5 empty] | 38ZEEG-0007104-R |  | Elering | EE | Estonia |  | -
228 |  | Dornum GASPOOL |  |  | Y-NOd> | 306.4 | [5 empty] | 21Z0000000004855 |  | Open Grid Europe | DE | GASPOOL |  | Y
229 |  | Beregdaróc 800 (HU) – Beregovo (UA) (HU>UA) Existing interconnection point, but only interruptible capacity |  |  | UA>HU | 0 |  | FGSZ |  | HU | Hungary |  |  | PJSC Ukrtransgaz | UA | Ukraine
LNG Entry IP
300 |  | Zeebrugge LNG |  |  | >IB-BEhz | 477 |  | Fluxys LNG |  | BE |  | 21Z0000000000082 |  | Fluxys Belgium | BE | BeLux | - | Y | 11.63 | 11.63
301 |  | Teesside |  |  | LNG_Tk_UK>UK | 128.9 |  | Dockside |  | UK |  | 21YTE-EC-------P |  | National Grid Gas | UK | UK | - | N | 11 | 11
[8 empty] | Trafigura |  | UK |  | 21YTE-EC-------P |  | National Grid Gas | UK | UK | - | N | 11 | 11
302 |  | Isle of Grain |  |  | LNG_Tk_UK>UK | 625.068 |  | Grain LNG |  | UK |  | 21YIG-EC-------X |  | National Grid Gas | UK | UK | N | N | 11 | 11
303 |  | Milford Haven |  |  | LNG_Tk_UK>UK | 916.767 |  | Dragon LNG |  | UK |  | 21Y---A001A011-7 |  | National Grid Gas | UK | UK | - | N | 11 | 11
[8 empty] | South Hook |  | UK |  | 21Y---A001A011-7 |  | National Grid Gas | UK | UK | - | N | 11 | 11
304 |  | Montoir de Bretagne |  |  | >IB-FR3 | 320.548 |  | Elengy |  | FR |  | 21Z000000000029V |  | GRTgaz | FR | TRF | - | N | 11.93 | 11.93
305 |  | Fos (Tonkin/Cavaou) |  |  | >IB-FR4 | 360.616 |  | Elengy |  | FR |  | 21Y---A001A006-X |  | GRTgaz | FR | TRF | - | N | 12.05 | 12.05
[8 empty] | Fosmax LNG |  | FR |  | 21Y---A001A006-X |  | GRTgaz | FR | TRF | - | N | 12.05 | 12.05
306 |  | Panigaglia |  |  | LNG_Tk_IT>IT | 118.9 |  | GNL Italia |  | IT |  | 21Z0000000000430 |  | Snam Rete Gas | IT | Italy | N | N | 11.944 | 11.944
307 |  | Cavarzere (Porto Levante / Adriatic LNG) In the integrated management of the whole gas system, SNAM carries out some activities on the basis of an agreement with ITG (capacity allocation and management, balancing). In this context, data for Cavarzere IP are published by SNAM on behalf of ITG. |  |  | LNG_Tk_ITa>IT | 242.975 |  | GNL Adriatico |  | IT |  | 21Z000000000142Z |  | ITG | IT | Italy | - | -
[14 empty] | Snam Rete Gas | IT | Italy | - | N | 11.602 | 11.602
308 |  | Agia Triada Revythoussa LNG Terminal is located on Revythoussa island. Agia Triada is the Entry Point in DESFA’s NGTS (Natural Gas Transmission System) and is located on the continent. It communicates with the LNG Terminal with two underwater pipelines. |  |  | LNG_Tk_GR>GR | 204.48 |  | DESFA (LSO) |  | GR |  | 21Z0000000000422 |  | DESFA | GR | Greece | - | N | 11.994 | 11.994
309 |  | Barcelona |  |  | LNG_Tk_ES>ES | 542.9 |  | Enagas (LSO) |  | ES |  | 21Z000000000063V |  | Enagas | ES | Spain | N | N | 11.65 | 11.65
310 |  | Sagunto |  |  | LNG_Tk_ES>ES | 278.3 |  | Saggas |  | ES |  | 21Z000000000129R |  | Enagas | ES | Spain | - | N | 11.63 | 11.63
311 |  | Cartagena |  |  | LNG_Tk_ES>ES | 375.8 |  | Enagas (LSO) |  | ES |  | 21Z000000000064T |  | Enagas | ES | Spain | N | N | 11.65 | 11.65
312 |  | Huelva |  |  | LNG_Tk_ESa>ES | 375.8 |  | Enagas (LSO) |  | ES |  | 21Z000000000065R |  | Enagas | ES | Spain | N | N | 11.65 | 11.65
313 |  | Mugardos Until 04/04/2017 Enagas reported the data at Mugardos on behalf of Reganosa, which is the actual operator at this point |  |  | LNG_Tk_ESa>ES | 115.2 |  | Reganosa (LSO) |  | ES |  |  |  | Reganosa | ES | Spain | N | N | 11.63 | 11.63
314 |  | Bilbao |  |  | LNG_Tk_ESa>ES | 222.7 |  | BBG |  | ES |  | 21Z0000000001402 |  | Enagas | ES | Spain | - | N | 11.65 | 11.65
315 |  | Sines |  |  | LNG_Tk_PT>PT | 200 |  | REN Atlantico |  | PT |  | 21Z0000000001313 |  | REN - Gasodutos | PT | Portugal | - | Y | 11.9 | 11.9
[5 empty] | PT>LNG_Tk_PT | 5 | 21Z0000000001313 | REN - Gasodutos |  | PT | Portugal |  |  | REN Atlantico | PT |  | - | - | 11.9 | 11.9
316 |  | Gate Terminal (I) |  |  | LNG_Tk_NL>NL | 384.658 |  | Gate Terminal |  | NL |  | 21W0000000000079 |  | GTS | NL | Netherlands | - | N
317 |  | OLT LNG / Livorno |  |  | LNG_Tk_IT>IT | 121.808 |  | OLT |  | IT |  | 21Z000000000275G |  | Snam Rete Gas | IT | Italy | - | N | 11.638 | 11.739
319 |  | Klaipeda (LNG) |  |  | LNG_Tk_LT>LT | 122.4 |  | AB Klaipėdos Nafta |  | LT |  | 21Z0000000003697 |  | Amber Grid | LT | Lithuania | - | N | 11.386 | 12.037
320 |  | Dunkerque LNG |  |  | Y-FRnd> | 570 | [5 empty] | 21Z000000000371K |  | GRTgaz | FR | TRF |  | N | 11.75 | 11.75
321 |  | Swinoujscie |  |  | LNG_Tk_PL>PL | 158 |  | Polskie LNG |  | PL |  | 21Z000000000454G |  | GAZ-SYSTEM | PL | Poland E-gas | N | N | 11.55 | 11.55
Trading Point
400 |  | NPTF |  |  | DK>DK | [8 empty] | Energinet | DK | Denmark |  | -
[8 empty] | Energinet |  | DK | Denmark | [5 empty] | -
401 |  | GTF (Bilateral Trading Point) |  |  | DK>DK | [8 empty] | Energinet | DK | Denmark |  | -
[8 empty] | Energinet |  | DK | Denmark | [5 empty] | -
402 |  | TTF |  |  | NL>NL | [8 empty] | GTS | NL | Netherlands |  | -
[8 empty] | GTS |  | NL | Netherlands | [5 empty] | -
403 |  | VHP GASPOOL |  |  | DEg>DEg | [8 empty] | Fluxys Deutschland | DE | GASPOOL |  | -
[14 empty] | GASCADE Gastransport | DE | GASPOOL |  | -
[14 empty] | Gastransport Nord | DE | GASPOOL |  | -
[14 empty] | Gasunie Deutschland | DE | GASPOOL |  | -
[14 empty] | jordgas Transport | DE | GASPOOL |  | -
[14 empty] | NEL Gastransport | DE | GASPOOL |  | -
[14 empty] | Nowega | DE | GASPOOL |  | -
[14 empty] | ONTRAS | DE | GASPOOL |  | -
[14 empty] | OPAL Gastransport | DE | GASPOOL |  | -
[8 empty] | Fluxys Deutschland |  | DE | GASPOOL | [5 empty] | -
[8 empty] | GASCADE Gastransport |  | DE | GASPOOL | [5 empty] | -
[8 empty] | Gastransport Nord |  | DE | GASPOOL | [5 empty] | -
[8 empty] | Gasunie Deutschland |  | DE | GASPOOL | [5 empty] | -
[8 empty] | jordgas Transport |  | DE | GASPOOL | [5 empty] | -
[8 empty] | NEL Gastransport |  | DE | GASPOOL | [5 empty] | -
[8 empty] | Nowega |  | DE | GASPOOL | [5 empty] | -
[8 empty] | ONTRAS |  | DE | GASPOOL | [5 empty] | -
[8 empty] | OPAL Gastransport |  | DE | GASPOOL | [5 empty] | -
404 |  | VHP NetConnectGermany |  |  | DEn>DEn | [8 empty] | bayernets | DE | NCG |  | -
[14 empty] | Fluxys TENP | DE | NCG |  | -
[14 empty] | GRTgaz Deutschland | DE | NCG |  | -
[14 empty] | Open Grid Europe | DE | NCG |  | -
[14 empty] | terranets bw | DE | NCG |  | -
[14 empty] | Thyssengas | DE | NCG |  | -
[8 empty] | bayernets |  | DE | NCG | [5 empty] | -
[8 empty] | Fluxys TENP |  | DE | NCG | [5 empty] | -
[8 empty] | GRTgaz Deutschland |  | DE | NCG | [5 empty] | -
[8 empty] | Open Grid Europe |  | DE | NCG | [5 empty] | -
[8 empty] | terranets bw |  | DE | NCG | [5 empty] | -
[8 empty] | Thyssengas |  | DE | NCG | [5 empty] | -
405 |  | OTE |  |  | CZ>CZ | [6 empty] | 21Y---A001A001-B |  | NET4GAS | CZ | Czech |  | -
[7 empty] | 21Y---A001A001-B | NET4GAS |  | CZ | Czech | [5 empty] | -
406 |  | NBP |  |  | UK>UK | [8 empty] | National Grid Gas | UK | UK |  | -
[8 empty] | National Grid Gas |  | UK | UK | [5 empty] | -
407 |  | IBP |  |  | IE>IE | [6 empty] | 21Y---A001A009-O |  | GNI | IE | Ireland |  | -
[7 empty] | 21Y---A001A009-O | GNI |  | IE | Ireland | [5 empty] | -
408 |  | PEG |  |  | FR>FR | [6 empty] | 21YPNT-EX-GAS-NT |  | GRTgaz | FR | PEG |  | -
Teréga
[7 empty] | 21YPNT-EX-GAS-NT | GRTgaz |  | FR | PEG | [5 empty] | -
[8 empty] | Teréga |  | FR | PEG | [5 empty] | -
411 |  | PSV |  |  | IT>IT | [6 empty] | 21Y---A001A010-A |  | Snam Rete Gas | IT | Italy |  | -
[7 empty] | 21Y---A001A010-A | Snam Rete Gas |  | IT | Italy | [5 empty] | -
412 |  | PVB |  |  | ES>ES | [8 empty] | Enagas | ES | Spain |  | -
[8 empty] | Enagas |  | ES | Spain | [5 empty] | -
413 |  | MGP |  |  | HU>HU | [6 empty] | 39YSINBP000000NE |  | FGSZ | HU | Hungary |  | -
[8 empty] | FGSZ |  | HU | Hungary | [5 empty] | -
414 |  | CEGH |  |  | AT>AT | [8 empty] | Gas Connect Austria | AT | Austria |  | -
[14 empty] | TAG | AT | Austria |  | -
[8 empty] | Gas Connect Austria |  | AT | Austria | [5 empty] | -
[8 empty] | TAG |  | AT | Austria | [5 empty] | -
415 |  | ZTP (Zeebrugge Trading Point H-Zone) |  |  | BEh>BEh | [8 empty] | Fluxys Belgium | BE | BeLux |  | -
[8 empty] | Fluxys Belgium |  | BE | BeLux | [5 empty] | -
417 |  | VTP - GAZ-SYSTEM |  |  | PL>PL | [8 empty] | GAZ-SYSTEM | PL | Poland E-gas |  | -
[8 empty] | GAZ-SYSTEM |  | PL | Poland E-gas | [5 empty] | -
418 |  | Zeebrugge Beach |  |  | BEh>BEh | [6 empty] | 21Z0000000000090 |  | Fluxys Belgium | BE | BeLux |  | -
[7 empty] | 21Z0000000000090 | Fluxys Belgium |  | BE | BeLux | [5 empty] | -
420 |  | HTP (Hellenic Trading Point) |  |  | GR>GR | [6 empty] | 21Y000000000131H |  | DESFA | GR | Greece |  | -
[7 empty] | 21Y000000000131H | DESFA |  | GR | Greece | [5 empty] | -