## Project Information
TYNDP Project Code | Project Name | Promoter | Hosting Country | Project Status | 4th PCI List Code | First Comm Year | Last Comm. Year | Compared to TYNP 2018
TRA-N-0092 | CS Ajdovščina, 1st phase of upgrade | Plinovodi d.o.o. | SI | Less-Advanced | 6.23 | 2025 | 2029 | -
TRA-N-0112 | R15/1 Pince - Lendava - Kidričevo | Plinovodi d.o.o. | SI | Less-Advanced | 6.23 | 2023 | 2029 | Rescheduled
TRA-N-0299 | M3/1 Šempeter - Vodice | Plinovodi d.o.o. | SI | Less-Advanced | - | 2026 | 2029 | -
TRA-N-0325 | Slovenian-Hungarian interconnector | FGSZ | HU | Less-Advanced | 6.23 | 2023 | 2029 | Rescheduled
TRA-N-1227 | Gorizia plant upgrade | Snam Rete Gas | IT | Less-Advanced | 6.23 | 2026 | 2029 | -
TYNDP Project Code | Diameter [mm] | Length [km] | Compressor Power [MW]
TRA-N-0092 | - | - | 5
TRA-N-0112 | 500 | 73 | 6
TRA-N-0112 | 600 | 73 | 6
TRA-N-0299 | 800 | 24 | -
TRA-N-0299 | 800 | 30 | -
TRA-N-0299 | 800 | 47 | -
TRA-N-0325 | 600 | 41 | -
TRA-N-0325 | 600 | 150 | 12
TRA-N-1227* | - | - | -
TYNDP Project Code | Point Name | Operator | From System | Exit Capacity [GWh/d] | Increment Comm. Year | To System | Entry Capacity [GWh/d] | Increment Comm. Year
TRA-N-112 | Pince (SI) / Tornyszentmiklos (HU) | Plinovodi d.o.o. | Transmission Slovenia | 12.9 | 2023 | Transmission Hungary (MGP) | 12.9 | 2023
TRA-N-112 | Pince (SI) / Tornyszentmiklos (HU) | Plinovodi d.o.o. | Transmission Slovenia | 46.4* | 2029 | Transmission Hungary (MGP) | 46.4* | 2029
TRA-N-1227 | Gorizia (IT) /Šempeter (SI) | Snam Rete Gas S.p.A. | Transmission Italia (PSV) | 17.3 | 2029 | Transmission Slovenia | 44.3 | 2029
TRA-N-299 | Gorizia (IT) /Šempeter (SI) | Plinovodi d.o.o. | Transmission Slovenia | 51.6 | 2029 | Transmission Italia (PSV) | 49 | 2029
TRA-N-325 | Pince (SI) / Tornyszentmiklos (HU) | FGSZ Ltd. | Transmission Hungary (MGP) | 12.8 | 2023 | Transmission Slovenia | 12.8 | 2023
TRA-N-325 | Pince (SI) / Tornyszentmiklos (HU) | FGSZ Ltd. | Transmission Hungary (MGP) | 46.5 | 2029 | Transmission Slovenia | 46.5 | 2029
|  | TRA-N-112 | TRA-N-1227 | TRA-N-299 | TRA-N-325 | TRA-N-92 | Total Cost
| CAPEX [min, EUR] | 112.8* | 3 | 169* | 205* | 12.2* | 502
| OPEX [min, EUR/y] | 1.28* | 0.01 | 0.9* | 10* | 1.93* | 14.12
| Range CAPEX (%) | 10 | 30 | 10 | 25 | 10 | -
| Range OPEX (%) | 10 | 30 | 10 | 15 | 10 | -

## Quantitative benefits-NT
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Croatia | [6 empty] | 200% | 300% | 100% | 200% | 300% | 100%
Slovenia | [9 empty] | 200% | 300% | 100%
LNG and Interconnection Capacity Diversification (LICD)
Hungary | 4531.895 | 4181.3361 | -350.5589 | 4531.895 | 4181.3361 | -350.5589 | 4531.895 | 3538.0501 | -993.8449 | 4531.895 | 3538.0501 | -993.8449
Italy | [6 empty] | 3735.8334 | 3602.4256 | -133.4079 | 3735.8334 | 3602.4256 | -133.4079
Slovenia | 4204.9205 | 3272.8408 | -932.0797 | 4252.084 | 3320.4189 | -931.6651 | 4238.3785 | 2974.0021 | -1264.3764 | 4253.101 | 2978.1289 | -1274.9721
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Italy | [6 empty] | 75.15% | 77.02% | 1.869% | 57.65% | 58.94% | 1.293%
Slovenia | 52.64% | 71.05% | 18.41% | 40.31% | 58.72% | 18.41% | 70.75% | 100% | 29.25% | 66.73% | 100% | 33.27%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Italy | [6 empty] | 72.27% | 74.2% | 1.925% | 54.87% | 56.2% | 1.325%
Slovenia | 46.29% | 64.7% | 18.41% | 34.97% | 53.38% | 18.41% | 56.6% | 100% | 43.4% | 60.85% | 100% | 39.15%
Remaining Flexibility Peak day (%)
Italy | [6 empty] | 43.93% | 45.15% | 1.219% | 36.41% | 37.59% | 1.179%
Slovenia | 20.12% | 36.74% | 16.62% | 13.08% | 29.7% | 16.62% | 32.58% | 100% | 67.42% | 39.13% | 100% | 60.87%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Croatia | [6 empty] | 25.28% | 1.341% | -23.94% | 24.31% | 0% | -24.31%
Slovenia | 53.26% | 36.64% | -16.62% | 53.26% | 36.64% | -16.62% | 54.08% | 0% | -54.08% | 54.16% | 0% | -54.16%
Market Integration
Bi-directionality - Country
HU <=> SI | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
IT <=> SI | [6 empty] | 75.62% | 98.17% | 22.56% | 75.62% | 98.17% | 22.56%
Bi-directionality - Point
Gorizia (IT) /Šempeter (SI) | [6 empty] | 75.62% | 100% | 24.38% | 75.62% | 100% | 24.38%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | 3043.7464 | 2861.2362 | -182.5102 | 3043.7464 | 2861.2362 | -182.5102 | 3043.7464 | 2522.4535 | -521.2929 | 3043.7464 | 2522.4535 | -521.2929
Italy | [6 empty] | 3735.8334 | 3602.4256 | -133.4079 | 3735.8334 | 3602.4256 | -133.4079
Slovenia | 4204.9205 | 3272.8408 | -932.0797 | 4252.084 | 3320.4189 | -931.6651 | 4238.3785 | 2974.0021 | -1264.3764 | 4253.101 | 2978.1289 | -1274.9721
Security of Supply
Remaining Flexibility Peak day (%)
Slovenia | 92.8% | 100% | 7.204% | 92.8% | 100% | 7.204% | 89.41% | 100% | 10.59% | 89.1% | 100% | 10.9%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Slovenia | 53.26% | 36.64% | -16.62% | 53.26% | 36.64% | -16.62% | 54.08% | 0% | -54.08% | 54.16% | 0% | -54.16%
Market Integration
Bi-directionality - Country
HU <=> SI | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
IT <=> SI | [6 empty] | 75.62% | 98.17% | 22.56% | 75.62% | 98.17% | 22.56%
Bi-directionality - Point
Gorizia (IT) /Šempeter (SI) | [6 empty] | 75.62% | 100% | 24.38% | 75.62% | 100% | 24.38%
ADVANCED
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | 2754.3849 | 2614.7484 | -139.6365 | 2754.3849 | 2614.7484 | -139.6365 | 2404.5944 | 2146.7864 | -257.8081 | 2221.1879 | 1968.3339 | -252.8541
Slovenia | 4204.9205 | 3272.8408 | -932.0797 | 4252.084 | 3320.4189 | -931.6651 | 4238.3785 | 2974.0021 | -1264.3764 | 4253.101 | 2978.1289 | -1274.9721
Security of Supply
Remaining Flexibility Peak day (%)
Slovenia | 92.8% | 100% | 7.204% | 92.8% | 100% | 7.204% | 89.41% | 100% | 10.59% | 89.1% | 100% | 10.9%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Slovenia | 53.26% | 36.64% | -16.62% | 53.26% | 36.64% | -16.62% | 54.08% | 0% | -54.08% | 54.16% | 0% | -54.16%
Market Integration
Bi-directionality - Country
HU <=> SI | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
IT <=> SI | [6 empty] | 75.62% | 98.17% | 22.56% | 75.62% | 98.17% | 22.56%
Bi-directionality - Point
Gorizia (IT) /Šempeter (SI) | [6 empty] | 75.62% | 100% | 24.38% | 75.62% | 100% | 24.38%

## Quantitative benefits-DE
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | 4531.895 | 4181.3361 | -350.5589 | 4531.895 | 4181.3361 | -350.5589 | 4531.895 | 3538.0501 | -993.8449 | 4531.895 | 3538.0501 | -993.8449
Italy | [6 empty] | 3735.8334 | 3602.4256 | -133.4079 | 3735.8334 | 3602.4256 | -133.4079
Slovenia | 4204.9205 | 3272.8408 | -932.0797 | 4252.084 | 3320.4189 | -931.6651 | 4152.7907 | 2946.3316 | -1206.4591 | 4292.2421 | 2988.433 | -1303.8091
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Italy | [6 empty] | 42.76% | 43.85% | 1.091% | 77.61% | 78.91% | 1.3%
Slovenia | 52.64% | 71.05% | 18.41% | 40.31% | 58.72% | 18.41%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Italy | [6 empty] | 41.73% | 42.82% | 1.089% | 71.45% | 72.73% | 1.287%
Slovenia | 46.29% | 64.7% | 18.41% | 34.97% | 53.38% | 18.41%
Remaining Flexibility Peak day (%)
Italy | [6 empty] | 24.05% | 24.98% | 0.9347% | 46.66% | 47.71% | 1.055%
Slovenia | 20.12% | 36.74% | 16.62% | 13.08% | 29.7% | 16.62% |  |  |  | 95.41% | 100% | 4.588%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Slovenia | 53.26% | 36.64% | -16.62% | 53.26% | 36.64% | -16.62% | 38.9% | 0% | -38.9% | 31.98% | 0% | -31.98%
Market Integration
Bi-directionality - Country
HU <=> SI | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
IT <=> SI | [6 empty] | 75.62% | 98.17% | 22.56% | 75.62% | 98.17% | 22.56%
Bi-directionality - Point
Gorizia (IT) /Šempeter (SI) | [6 empty] | 75.62% | 100% | 24.38% | 75.62% | 100% | 24.38%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | 3043.7464 | 2861.2362 | -182.5102 | 3043.7464 | 2861.2362 | -182.5102 | 3043.7464 | 2522.4535 | -521.2929 | 3043.7464 | 2522.4535 | -521.2929
Italy | [6 empty] | 3735.8334 | 3602.4256 | -133.4079 | 3735.8334 | 3602.4256 | -133.4079
Slovenia | 4204.9205 | 3272.8408 | -932.0797 | 4252.084 | 3320.4189 | -931.6651 | 4152.7907 | 2946.3316 | -1206.4591 | 4292.2421 | 2988.433 | -1303.8091
MASD-RU
Hungary | [6 empty] | 28% | 17.3% | -10.7% | 7.322% | 4% | -3.3%
Romania | [9 empty] | 6.383% | 3.243% | -3.1%
Security of Supply
Remaining Flexibility Peak day (%)
Slovenia | 92.8% | 100% | 7.204% | 92.8% | 100% | 7.204% |  |  |  | 95.41% | 100% | 4.588%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Slovenia | 53.26% | 36.64% | -16.62% | 53.26% | 36.64% | -16.62% | 38.9% | 0% | -38.9% | 31.98% | 0% | -31.98%
Market Integration
Bi-directionality - Country
HU <=> SI | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
IT <=> SI | [6 empty] | 75.62% | 98.17% | 22.56% | 75.62% | 98.17% | 22.56%
Bi-directionality - Point
Gorizia (IT) /Šempeter (SI) | [6 empty] | 75.62% | 100% | 24.38% | 75.62% | 100% | 24.38%
ADVANCED
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | 2754.3849 | 2614.7484 | -139.6365 | 2754.3849 | 2614.7484 | -139.6365 | 2267.6861 | 2014.3688 | -253.3172 | 2212.8371 | 1959.9134 | -252.9237
Slovenia | 4204.9205 | 3272.8408 | -932.0797 | 4252.084 | 3320.4189 | -931.6651 | 4152.7907 | 2946.3316 | -1206.4591 | 4292.2421 | 2988.433 | -1303.8091
Security of Supply
Remaining Flexibility Peak day (%)
Slovenia | 92.8% | 100% | 7.204% | 92.8% | 100% | 7.204% |  |  |  | 95.41% | 100% | 4.588%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Slovenia | 53.26% | 36.64% | -16.62% | 53.26% | 36.64% | -16.62% | 38.9% | 0% | -38.9% | 31.98% | 0% | -31.98%
Market Integration
Bi-directionality - Country
HU <=> SI | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
IT <=> SI | [6 empty] | 75.62% | 98.17% | 22.56% | 75.62% | 98.17% | 22.56%
Bi-directionality - Point
Gorizia (IT) /Šempeter (SI) | [6 empty] | 75.62% | 100% | 24.38% | 75.62% | 100% | 24.38%

## Quantitative benefits-GA
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | 4531.895 | 4181.3361 | -350.5589 | 4531.895 | 4181.3361 | -350.5589 | 4531.895 | 3538.0501 | -993.8449 | 4531.895 | 3538.0501 | -993.8449
Italy | [6 empty] | 3735.8334 | 3602.4256 | -133.4079 | 3735.8334 | 3602.4256 | -133.4079
Slovenia | 4204.9205 | 3272.8408 | -932.0797 | 4252.084 | 3320.4189 | -931.6651 | 4280.8203 | 2985.5187 | -1295.3016 | 4514.567 | 3034.6369 | -1479.9301
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Slovenia | 52.64% | 71.05% | 18.41% | 40.31% | 58.72% | 18.41% |  |  |  | 95.09% | 100% | 4.908%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Slovenia | 46.29% | 64.7% | 18.41% | 34.97% | 53.38% | 18.41% |  |  |  | 88.42% | 100% | 11.58%
Remaining Flexibility Peak day (%)
Slovenia | 20.12% | 36.74% | 16.62% | 13.08% | 29.7% | 16.62% | 73.34% | 100% | 26.66% | 63.24% | 100% | 36.76%
Single Largest Infrastructure Disruption (SLID)-Slovakia
Austria | [6 empty] | 24% | 22% | -2%
Czechia | [6 empty] | 24% | 21.79% | -2.208%
Slovakia | [6 empty] | 24% | 22% | -2%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Croatia | [6 empty] | 4.415% | 0% | -4.415%
Slovenia | 53.26% | 36.64% | -16.62% | 53.26% | 36.64% | -16.62% | 52.62% | 0% | -52.62% | 50.46% | 0% | -50.46%
Market Integration
Bi-directionality - Country
HU <=> SI | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
IT <=> SI | [6 empty] | 75.62% | 98.17% | 22.56% | 75.62% | 98.17% | 22.56%
Bi-directionality - Point
Gorizia (IT) /Šempeter (SI) | [6 empty] | 75.62% | 100% | 24.38% | 75.62% | 100% | 24.38%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | 3043.7464 | 2861.2362 | -182.5102 | 3043.7464 | 2861.2362 | -182.5102 | 3043.7464 | 2522.4535 | -521.2929 | 3043.7464 | 2522.4535 | -521.2929
Italy | [6 empty] | 3735.8334 | 3602.4256 | -133.4079 | 3735.8334 | 3602.4256 | -133.4079
Slovenia | 4204.9205 | 3272.8408 | -932.0797 | 4252.084 | 3320.4189 | -931.6651 | 4280.8203 | 2985.5187 | -1295.3016 | 4514.567 | 3034.6369 | -1479.9301
MASD-RU
Croatia | [6 empty] | 29.87% | 27.12% | -2.7%
Hungary | [6 empty] | 32% | 27.31% | -4.7%
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Slovenia | [9 empty] | 95.09% | 100% | 4.908%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Slovenia | [9 empty] | 88.42% | 100% | 11.58%
Remaining Flexibility Peak day (%)
Slovenia | 92.8% | 100% | 7.204% | 92.8% | 100% | 7.204% | 80.69% | 100% | 19.31% | 63.24% | 100% | 36.76%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Slovenia | 53.26% | 36.64% | -16.62% | 53.26% | 36.64% | -16.62% | 52.62% | 0% | -52.62% | 50.46% | 0% | -50.46%
Market Integration
Bi-directionality - Country
HU <=> SI | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
IT <=> SI | [6 empty] | 75.62% | 98.17% | 22.56% | 75.62% | 98.17% | 22.56%
Bi-directionality - Point
Gorizia (IT) /Šempeter (SI) | [6 empty] | 75.62% | 100% | 24.38% | 75.62% | 100% | 24.38%
ADVANCED
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | 2754.3849 | 2614.7484 | -139.6365 | 2754.3849 | 2614.7484 | -139.6365 | 2269.3001 | 2015.9496 | -253.3505 | 2226.6341 | 1973.7918 | -252.8423
Slovenia | 4204.9205 | 3272.8408 | -932.0797 | 4252.084 | 3320.4189 | -931.6651 | 4280.8203 | 2985.5187 | -1295.3016 | 4514.567 | 3034.6369 | -1479.9301
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Slovenia | [9 empty] | 95.09% | 100% | 4.908%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Slovenia | [9 empty] | 88.42% | 100% | 11.58%
Remaining Flexibility Peak day (%)
Slovenia | 92.8% | 100% | 7.204% | 92.8% | 100% | 7.204% | 80.69% | 100% | 19.31% | 63.24% | 100% | 36.76%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Slovenia | 53.26% | 36.64% | -16.62% | 53.26% | 36.64% | -16.62% | 52.62% | 0% | -52.62% | 50.46% | 0% | -50.46%
Market Integration
Bi-directionality - Country
HU <=> SI | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
IT <=> SI | [6 empty] | 75.62% | 98.17% | 22.56% | 75.62% | 98.17% | 22.56%
Bi-directionality - Point
Gorizia (IT) /Šempeter (SI) | [6 empty] | 75.62% | 100% | 24.38% | 75.62% | 100% | 24.38%

## Monetized benefits
Reference
|  | EXISTING |  |  | LOW |  |  | ADVANCED | [7 empty] | Reference
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION |  |  |  | Sustainability |  | EXISTING |  |  | LOW |  |  | ADVANCED
EU Bill benefits With Tariffs | Reference Supply | 0 | 0 | 2.3595 | 0.00032117 | 0.00010502 | 0.00013168 | 0.00031413 | 9.2331e-06 | 9.2331e-06 |  |  |  | CO2 and Other externalities (KtCO2 eq/y) | Reference | 0 / 0 | 0 / 0 | 25 / 26 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
| Supply Maximization | 7.56 | 6.8053 | 8.8289 | 4.99 | 2.7052 | 5.7016 | 3.0703 | 2.2771 | 5.1197 |  |  |  |  | Lower Tariff Sensitivity | 0 / 0 | 0 / 7 | 25 / 43 | 0 / 0 | 0 / 13 | 0 / 8 | 0 / 0 | 0 / 0 | 0 / 0
Security of Supply | Design Case | 2.1415 | 0.82417 | 1.7827 | 1.0964 | 0.74737 | 1.2254 | 1.0964 | 0.74737 | 1.2254 |  |  |  |  | Higher Tariff Sensitivity | 0 / 2 | 0 / 0 | 0 / 25 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 0 | 1.2 / 1.2 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | [24 empty] | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity | Higher Tariff Sensitivity | Cost of Disruption Sensitivity
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 0 / 0 | 0 / 0 | 1 / 26 |  |  | 0 / 0 | 0 / 0 | 25 / 26
[34 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 0 / 0 | 0 / 0 | 0 / 0 |  |  | 0 / 0 | 0 / 0 | 0 / 0
[34 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 0 / 0 | 0 / 0 | 0 / 0 |  |  | 0 / 0 | 0 / 0 | 0 / 0
[14 empty] | Year of assessment |  | 2020 | [8 empty] | 2025
|  | EXISTING Infrastructure Level | [13 empty] | EXISTING |  |  | LOW |  |  | ADVANCED |  |  | EXISTING |  |  | LOW |  |  | ADVANCED
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity |  |  | Benefits (Meur/year) |  | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | EU Bill benefits With Tariffs | Reference Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00011051 | 0.00011051 | 0.00011051 | 4.6166e-05 | 4.6166e-05 | 4.6166e-05
EU Bill benefits With Tariffs | Reference Supply | 0 | 0 | 2.3595 | 0 | 0.20311 | 5.6239 | 0 | 0 | 0 | 0 | 0 | 2.3595 |  | Supply Maximization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18462 | 0.18462 | 0.18462 | 4.6166e-05 | 4.6166e-05 | 4.6166e-05
| Supply Maximization | 8.5945 | 7.7043 | 9.8373 | 10.5537 | 10.6762 | 13.9298 | 2.8581 | 1.5274 | 2.6218 | 7.56 | 6.8053 | 8.8289 | Security of Supply | Design Case | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.768 | 4.224 | 0.768 | 0.384 | 0.384 | 0.384 | 0.384 | 0.384 | 0.384
Security of Supply | Design Case | 2.4853 | 0.83809 | 1.5057 | 2.1415 | 0.82417 | 1.7827 | 2.1415 | 0.82417 | 1.7827 | 0.22367 | 0.22367 | 1.3928 |  | 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 0 | 1.2 / 1.2 | 0 / 0 | 0 / 0.6 | 1.2 / 2.2 | 0 / 0.1 | 0 / 0 | 0 / 1.2 | 0 / 0 | 0 / 0 | 1.2 / 1.2 |  | Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LOW Infrastructure Level
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity |  |  | Year of assessment |  | 2030 | [8 empty] | 2040
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION |  |  | EXISTING |  |  | LOW |  |  | ADVANCED |  |  | EXISTING |  |  | LOW |  |  | ADVANCED
EU Bill benefits With Tariffs | Reference Supply | 0.00037686 | 0.0001039 | 0.000137 | 0.075559 | 0.61089 | 0.27595 | 0 | 0 | 0 | 0.00032117 | 0.00010502 | 0.00013168 | Benefits (Meur/year) |  | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA
| Supply Maximization | 6.2399 | 3.4175 | 7.1363 | 8.6538 | 7.4028 | 9.7975 | 1.346 | 0.71524 | 1.8273 | 4.99 | 2.7052 | 5.7016 | EU Bill benefits With Tariffs | Reference Supply | 0 | 0 | 6.2091 | 0.00075238 | 0.00013523 | 0.00013967 | 0.00067348 | 0 | 0 | 0 | 0 | 0 | 0.0001467 | 8.4696e-05 | 0.00013536 | 0.00020571 | 0 | 0
Security of Supply | Design Case | 1.2744 | 0.83809 | 1.435 | 1.0964 | 0.74737 | 1.2254 | 1.0964 | 0.74737 | 1.2254 | 0 | 0 | 0 |  | Supply Maximization | 8.551 | 8.0514 | 12.1769 | 6.5353 | 7.8892 | 8.2895 | 4.3518 | 7.1615 | 9.3269 | 8.6212 | 7.4915 | 8.4034 | 6.0588 | 0.6768 | 6.4295 | 3.5295 | 0.25717 | 4.6432
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Security of Supply | Design Case | 2.5378 | 0.82304 | 2.9884 | 1.272 | 0.82304 | 1.4711 | 1.272 | 0.82304 | 1.3322 | 2.4532 | 0.84731 | 1.498 | 1.2759 | 0.84731 | 1.498 | 1.2759 | 0.84731 | 1.498
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 1 | 0 / 0.4 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 |  | 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 0 | 3 / 3 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
|  | ADVANCED Infrastructure Level | [12 empty] | Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION
EU Bill benefits With Tariffs | Reference Supply | 0.00031413 | 9.2331e-06 | 9.2331e-06 | 0.51972 | 0.3054 | 0.58847 | 0 | 0 | 0 | 0.00031413 | 9.2331e-06 | 9.2331e-06
| Supply Maximization | 3.0703 | 2.2771 | 5.1197 | 6.8702 | 6.444 | 9.4995 | 0.11639 | 0.60364 | 1.502 | 3.0703 | 2.2771 | 5.1197
Security of Supply | Design Case | 1.0964 | 0.74737 | 1.2254 | 1.0964 | 0.74737 | 1.2254 | 1.0964 | 0.74737 | 1.2254 | 0 | 0 | 0
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0