## Project Information
TYNDP Project Code | Project Name | Promoter | Hosting Country | Project Status | 4th PCI List Code | First Comm Year | Last Comm. Year | Compared to TYNP 2018
TRA-N-0075 | LNG evacuation pipeline Zlobin-Bosiljevo-Sisak-Kozarac | Plinacro Ltd | HR | Less-Advanced | - | 2027 | 2027 | Rescheduled
TRA-F-0090 | LNG evacuation pipeline Omišalj - Zlobin (Croatia) | Plinacro Ltd | HR | Advanced | 6.5.1 | 2020 | 2020 | Completed
TRA-N-1057 | Compressor stations 2 and 3 at the Croatian gas tranmission system | Plinacro Ltd | HR | Less-Advanced | 6.26.1.3 | 2029 | 2029 | Rescheduled
TRA-N-1058 | LNG Evacuation Pipeline Kozarac-Slobodnica | Plinacro Ltd | HR | Less-Advanced | - | 2027 | 2027 | -
LNG-N-815 | LNG terminal Krk 2nd phase | LNG Hrvatska | HR | Less-Advanced | 6.5.6 | 2027 | 2027 | Rescheduled
TYNDP Project Code | Diameter [mm] | Length [km] | Compressor Power [MW]
TRA-F-0090 | 800 | 18 | -
TRA-N-0075 | 800 | 20 | -
TRA-N-0075 | 800 | 58 | -
TRA-N-0075 | 800 | 102 | -
TRA-N-1057 | - | - | 20
TRA-N-1058 | 800 | 128 | -
TYNDP Project Code | Yearly Volume [bcm/y] | Storage Capacity [m3 LNG] | Ship Size [m3 LNG]
LNG-N-0815 | 4.4 | 160000 | 120000
TYNDP Project Code | Point Name | Operator | From System | Exit Capacity [GWh/d] | Increment Comm. Year | To System | Entry Capacity [GWh/d] | Increment Comm. Year
LNG-N-815 | Croatia LNG | LNG Hrvatska d.o.o. | LNG Terminals Croatia | 109.2 | 2027 | Transmission Croatia | 0 | -
TRA-N-1058 | Dravaszerdahely | Plinacro Ltd | Transmission Croatia | 82 | 2027 | Transmission Hungary (MGP) | 135.85 | 2027
TRA-N-1058 | Croatia LNG | Plinacro Ltd | LNG Terminals Croatia | 0 | - | Transmission Croatia | 82 | 2027
TRA-N-75 | Dravaszerdahely | Plinacro Ltd | Transmission Croatia | 54.34 | 2027 | Transmission Hungary (MGP) | 0 | -
TRA-N-75 | Croatia LNG | Plinacro Ltd | LNG Terminals Croatia | 0 | - | Transmission Croatia | 27.17 | 2027
|  | LNG-N-815 | TRA-N-1057 | TRA-N-1058 | TRA-N-75 | Total Cost
| CAPEX [min, EUR] | 479 | -** | 141.08 | 198.4 | 818.48
| OPEX [min, EUR/y] | 34 | -** | 2.54 | 3.57 | 40.11
| Range CAPEX (%) | 0 | 0 | 0 | 0 | -
| Range OPEX (%) | 10 | 0 | 0 | 0 | -

## Quantitative benefits-NT
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Austria | [9 empty] | 2 | 3 | 1
Bosnia Herzegovina | [6 empty] | 2 | 3 | 1 | 2 | 3 | 1
Croatia | [6 empty] | 2 | 3 | 1 | 2 | 3 | 1
Czechia | [6 empty] | 2 | 3 | 1 | 2 | 3 | 1
Denmark | [9 empty] | 2 | 3 | 1
Germany | [9 empty] | 2 | 3 | 1
Serbia | [6 empty] | 2 | 3 | 1 | 2 | 3 | 1
Slovakia | [6 empty] | 2 | 3 | 1 | 2 | 3 | 1
Slovenia | [9 empty] | 2 | 3 | 1
Sweden | [9 empty] | 2 | 3 | 1
LNG and Interconnection Capacity Diversification (LICD)
Croatia | [6 empty] | 5137.0432 | 3406.2718 | -1730.7715 | 5110.1199 | 3392.5827 | -1717.5373
Hungary | [6 empty] | 4531.895 | 3316.999 | -1214.896 | 4531.895 | 3316.999 | -1214.896
MASD-RU
Austria | [6 empty] | 43.1% | 40.38% | -2.7% | 45.09% | 42% | -3.1%
Belgium | [6 empty] | 5.191% | 7.267% | 2.1%
Bosnia Herzegovina | [9 empty] | 44.83% | 42% | -2.8%
Croatia | [6 empty] | 43.07% | 40% | -3.1% | 45.08% | 41.08% | -4%
Czech Republic | [6 empty] | 43.21% | 40% | -3.2% | 44.81% | 42% | -2.8%
Germany | [6 empty] | 41.77% | 39.38% | -2.4% | 44% | 41.91% | -2.1%
Hungary | [9 empty] | 45.26% | 42% | -3.3%
Luxembourg | [6 empty] | 5.591% | 7.828% | 2.2%
Poland | [9 empty] | 45.02% | 42% | -3%
Serbia | [9 empty] | 45.06% | 42% | -3.1%
Slovakia | [9 empty] | 45.19% | 42% | -3.2%
Slovenia | [6 empty] | 43.07% | 40% | -3.1% | 45.06% | 41.06% | -4%
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Croatia | [6 empty] | 21.5% | 100% | 78.5% | 20.64% | 100% | 79.36%
Slovenia | [6 empty] | 70.75% | 100% | 29.25% | 66.73% | 100% | 33.27%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Croatia | [6 empty] | 14.2% | 100% | 85.8% | 17.42% | 100% | 82.58%
Italy | [6 empty] | 72.27% | 73.01% | 0.7408% | 54.87% | 55.44% | 0.5727%
Slovenia | [6 empty] | 56.6% | 100% | 43.4% | 60.85% | 100% | 39.15%
Remaining Flexibility Peak day (%)
Croatia | [6 empty] | 9.556% | 100% | 90.44% | 13.73% | 100% | 86.27%
Slovenia | [6 empty] | 32.58% | 89.41% | 56.83% | 39.13% | 89.1% | 49.97%
Single Largest Infrastructure Disruption (SLID)-Croatia
Croatia | [6 empty] | 34.87% | 0% | -34.87% | 34.77% | 0% | -34.77%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Croatia | [6 empty] | 25.28% | 0% | -25.28% | 24.31% | 0% | -24.31%
Market Integration
Bi-directionality - Country
HR <=> HU | 17.37% | 69.43% | 52.06% | 17.37% | 69.43% | 52.06% | 17.37% | 92.42% | 75.06% | 17.37% | 92.42% | 75.06%
Bi-directionality - Point
Dravaszerdahely | [6 empty] | 17.37% | 100% | 82.63% | 17.37% | 100% | 82.63%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | [6 empty] | 3043.7464 | 2890.0113 | -153.7351 | 3043.7464 | 2870.8909 | -172.8555
MASD-RU
Czech Republic | [9 empty] | 30% | 27.79% | -2.2%
Denmark | [9 empty] | 30% | 27.1% | -2.9%
Germany | [6 empty] | 29.54% | 27.46% | -2.1% | 29.28% | 27.05% | -2.2%
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Croatia | [6 empty] | 73.23% | 100% | 26.77% | 72.16% | 100% | 27.84%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Croatia | [6 empty] | 62.82% | 100% | 37.18% | 67.57% | 100% | 32.43%
Remaining Flexibility Peak day (%)
Croatia | [6 empty] | 55.46% | 100% | 44.54% | 61.58% | 100% | 38.42%
Market Integration
Bi-directionality - Country
HR <=> HU | 17.37% | 69.43% | 52.06% | 17.37% | 69.43% | 52.06% | 17.37% | 92.42% | 75.06% | 17.37% | 92.42% | 75.06%
Bi-directionality - Point
Dravaszerdahely | [6 empty] | 69.43% | 100% | 30.57% | 69.43% | 100% | 30.57%
ADVANCED
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | [6 empty] | 2404.5944 | 2157.5432 | -247.0512 | 2221.1879 | 2055.1391 | -166.0488
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Croatia | [6 empty] | 95.84% | 100% | 4.16%
Remaining Flexibility Peak day (%)
Croatia | [6 empty] | 86.63% | 100% | 13.37% | 98.24% | 100% | 1.76%
Germany | [9 empty] | 37.95% | 39.25% | 1.291%
Market Integration
Bi-directionality - Country
HR <=> HU | 17.37% | 69.43% | 52.06% | 17.37% | 69.43% | 52.06% | 17.37% | 92.42% | 75.06% | 17.37% | 92.42% | 75.06%
Bi-directionality - Point
Dravaszerdahely | [6 empty] | 69.43% | 100% | 30.57% | 69.43% | 100% | 30.57%

## Quantitative benefits-DE
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Croatia | [9 empty] | 3 | 4 | 1
Romania | [9 empty] | 2 | 3 | 1
LNG and Interconnection Capacity Diversification (LICD)
Croatia | [6 empty] | 5001.6064 | 3334.274 | -1667.3324 | 5000 | 3333.3333 | -1666.6667
Hungary | [6 empty] | 4531.895 | 3316.999 | -1214.896 | 4531.895 | 3316.999 | -1214.896
MASD-RU
Austria | [9 empty] | 23.09% | 19.09% | -4%
Belgium | [6 empty] | 0.1103% | 3.07% | 3%
Bosnia Herzegovina | [9 empty] | 22.83% | 20% | -2.8%
Croatia | [6 empty] | 42% | 39.09% | -2.9% | 23.12% | 19.12% | -4%
Czech Republic | [9 empty] | 23.28% | 19.28% | -4%
Denmark | [9 empty] | 22% | 19.09% | -2.9%
France | [6 empty] | 0% | 2.763% | 2.8%
Germany | [6 empty] | 41.13% | 38.51% | -2.6% | 22.17% | 19.03% | -3.1%
Hungary | [9 empty] | 23.32% | 19.46% | -3.9%
Serbia | [9 empty] | 23.06% | 20% | -3.1%
Slovakia | [9 empty] | 23.2% | 20% | -3.2%
Slovenia | [6 empty] | 42% | 39.02% | -3% | 23.04% | 19.04% | -4%
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Croatia | [6 empty] | 66.2% | 100% | 33.79%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Croatia | [6 empty] | 55.5% | 100% | 44.5% | 80.51% | 100% | 19.49%
Remaining Flexibility Peak day (%)
Croatia | [6 empty] | 51.33% | 100% | 48.67% | 88.76% | 100% | 11.24%
Single Largest Infrastructure Disruption (SLID)-Croatia
Croatia | [6 empty] | 8.227% | 0% | -8.227%
Market Integration
Bi-directionality - Country
HR <=> HU | 17.37% | 69.43% | 52.06% | 17.37% | 69.43% | 52.06% | 17.37% | 92.42% | 75.06% | 17.37% | 92.42% | 75.06%
Bi-directionality - Point
Dravaszerdahely | [6 empty] | 17.37% | 100% | 82.63% | 17.37% | 100% | 82.63%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | [6 empty] | 3043.7464 | 2890.0113 | -153.7351 | 3043.7464 | 2859.1909 | -184.5555
MASD-RU
Hungary | [6 empty] | 28% | 15.3% | -12.7% | 7.322% | 0% | -7.3%
Romania | [9 empty] | 6.383% | 0% | -6.4%
Market Integration
Bi-directionality - Country
HR <=> HU | 17.37% | 69.43% | 52.06% | 17.37% | 69.43% | 52.06% | 17.37% | 92.42% | 75.06% | 17.37% | 92.42% | 75.06%
Bi-directionality - Point
Dravaszerdahely | [6 empty] | 69.43% | 100% | 30.57% | 69.43% | 100% | 30.57%
ADVANCED
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | [6 empty] | 2267.6861 | 2081.7072 | -185.9788 | 2212.8371 | 2048.0922 | -164.7449
Market Integration
Bi-directionality - Country
HR <=> HU | 17.37% | 69.43% | 52.06% | 17.37% | 69.43% | 52.06% | 17.37% | 92.42% | 75.06% | 17.37% | 92.42% | 75.06%
Bi-directionality - Point
Dravaszerdahely | [6 empty] | 69.43% | 100% | 30.57% | 69.43% | 100% | 30.57%

## Quantitative benefits-GA
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Austria | [6 empty] | 2 | 3 | 1
Czechia | [6 empty] | 2 | 3 | 1
Denmark | [6 empty] | 2 | 3 | 1
Germany | [6 empty] | 2 | 3 | 1
North Noth Macedonia | [6 empty] | 2 | 3 | 1 | 2 | 3 | 1
Slovakia | [6 empty] | 2 | 3 | 1
Sweden | [6 empty] | 3 | 4 | 1
LNG and Interconnection Capacity Diversification (LICD)
Croatia | [6 empty] | 5005.4226 | 3336.4773 | -1668.9453 | 5000.4671 | 3333.6083 | -1666.8587
Hungary | [6 empty] | 4531.895 | 3316.999 | -1214.896 | 4531.895 | 3316.999 | -1214.896
MASD-RU
Bosnia Herzegovina | [6 empty] | 48% | 44.83% | -3.2%
Croatia | [6 empty] | 47.12% | 44% | -3.1% | 42% | 39.13% | -2.9%
Denmark | [6 empty] | 47.09% | 45.02% | -2.1% | 42% | 39.1% | -2.9%
Germany | [9 empty] | 42% | 39.7% | -2.3%
Hungary | [6 empty] | 47.31% | 44.42% | -2.9%
Poland | [6 empty] | 47.85% | 45.02% | -2.8% | 42.13% | 40% | -2.1%
Serbia | [6 empty] | 48% | 45.06% | -2.9%
Slovenia | [6 empty] | 47.04% | 44% | -3% | 42% | 39.06% | -2.9%
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Croatia | [6 empty] | 60.1% | 100% | 39.9% | 69.99% | 100% | 30.01%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Croatia | [6 empty] | 45.15% | 100% | 54.85% | 63.74% | 100% | 36.26%
Remaining Flexibility Peak day (%)
Croatia | [6 empty] | 39.26% | 100% | 60.74% | 55.41% | 100% | 44.59%
Slovenia | [6 empty] | 73.34% | 80.69% | 7.355%
Single Largest Infrastructure Disruption (SLID)-Croatia
Croatia | [6 empty] | 16.44% | 0% | -16.44% | 6.707% | 0% | -6.707%
Single Largest Infrastructure Disruption (SLID)-Slovenia
Croatia | [6 empty] | 4.415% | 0% | -4.415%
Ukraine Disruption Curtailment Rate Peak Day (%)
Croatia | [6 empty] | -2% | 0% | 2%
Switzerland | [6 empty] | -2.504% | -2% | 0.5038%
Market Integration
Bi-directionality - Country
HR <=> HU | 17.37% | 69.43% | 52.06% | 17.37% | 69.43% | 52.06% | 17.37% | 92.42% | 75.06% | 17.37% | 92.42% | 75.06%
Bi-directionality - Point
Dravaszerdahely | [6 empty] | 17.37% | 100% | 82.63% | 17.37% | 100% | 82.63%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | [6 empty] | 3043.7464 | 2890.0113 | -153.7351 | 3043.7464 | 2878.4942 | -165.2522
MASD-RU
Croatia | [6 empty] | 29.87% | 26% | -3.9% | 23.39% | 12% | -11.4%
Hungary | [6 empty] | 32% | 26% | -6% | 26% | 12.94% | -13.1%
Romania | [9 empty] | 26% | 13.08% | -12.9%
Slovenia | [6 empty] | 29.04% | 26% | -3% | 23.06% | 17.34% | -5.7%
Security of Supply
Remaining Flexibility Peak day (%)
Croatia | [6 empty] | 97.23% | 100% | 2.771%
Market Integration
Bi-directionality - Country
HR <=> HU | 17.37% | 69.43% | 52.06% | 17.37% | 69.43% | 52.06% | 17.37% | 92.42% | 75.06% | 17.37% | 92.42% | 75.06%
Bi-directionality - Point
Dravaszerdahely | [6 empty] | 69.43% | 100% | 30.57% | 69.43% | 100% | 30.57%
ADVANCED
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Hungary | [6 empty] | 2269.3001 | 2082.492 | -186.8081 | 2226.6341 | 2059.744 | -166.89
MASD-RU
Bosnia Herzegovina | [9 empty] | 14% | 10.83% | -3.2%
Bulgaria | [9 empty] | 14% | 11.17% | -2.8%
Croatia | [9 empty] | 14% | 11.13% | -2.9%
Hungary | [9 empty] | 14% | 11.33% | -2.7%
Italy | [9 empty] | 13.73% | 11.58% | -2.2%
Romania | [9 empty] | 14% | 11.08% | -2.9%
Serbia | [9 empty] | 14% | 11.06% | -2.9%
Market Integration
Bi-directionality - Country
HR <=> HU | 17.37% | 69.43% | 52.06% | 17.37% | 69.43% | 52.06% | 17.37% | 92.42% | 75.06% | 17.37% | 92.42% | 75.06%
Bi-directionality - Point
Dravaszerdahely | [6 empty] | 69.43% | 100% | 30.57% | 69.43% | 100% | 30.57%

## Monetized benefits
Reference
|  | EXISTING |  |  | LOW |  |  | ADVANCED | [7 empty] | Reference
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION |  |  |  | Sustainability |  | EXISTING |  |  | LOW |  |  | ADVANCED
EU Bill benefits With Tariffs | Reference Supply | 71.8068 | 44.221 | 49.3079 | 12.1016 | 5.6408 | 15.7792 | 9.9486 | 4.7794 | 8.7778 |  |  |  | CO2 and Other externalities (KtCO2 eq/y) | Reference | 3 / 4 | 28 / 29 | 53 / 53 | 2 / 3 | 15 / 15 | 51 / 52 | 2 / 2 | 10 / 10 | 24 / 24
| Supply Maximization | 94.6034 | 62.9241 | 70.4603 | 30.5822 | 19.1123 | 28.8979 | 45.6451 | 16.9916 | 38.568 |  |  |  |  | Lower Tariff Sensitivity | 3 / 4 | 30 / 31 | 54 / 54 | 2 / 3 | 33 / 33 | 52 / 53 | 2 / 2 | 16 / 16 | 32 / 32
Security of Supply | Design Case | 1.3406 | 0.12331 | 0.43055 | 0 | 0 | 0.00043092 | 0 | 0 | 0 |  |  |  |  | Higher Tariff Sensitivity | 2 / 3 | 5 / 5 | 21 / 21 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings | 0.1 / 0.2 | 2.1 / 2.2 | 2.9 / 3 | 0.1 / 0.1 | 1 / 1 | 2.8 / 2.9 | 0.1 / 0.1 | 0.8 / 0.8 | 1.4 / 1.4 | [24 empty] | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity | Higher Tariff Sensitivity | Cost of Disruption Sensitivity
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 2 / 3 | 1 / 36 | 2 / 62 |  |  | 3 / 4 | 28 / 29 | 53 / 53
[34 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 2 / 2 | 1 / 14 | 2 / 58 |  |  | 2 / 3 | 15 / 15 | 51 / 52
[34 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 2 / 2 | 0 / 10 | 1 / 24 |  |  | 2 / 2 | 10 / 10 | 24 / 24
[14 empty] | Year of assessment |  | 2020 | [8 empty] | 2025
|  | EXISTING Infrastructure Level | [13 empty] | EXISTING |  |  | LOW |  |  | ADVANCED |  |  | EXISTING |  |  | LOW |  |  | ADVANCED
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity |  |  | Benefits (Meur/year) |  | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | EU Bill benefits With Tariffs | Reference Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7835e-10 | 3.7835e-10 | 3.7835e-10 | 7.276e-10 | 7.276e-10 | 7.276e-10
EU Bill benefits With Tariffs | Reference Supply | 95.5254 | 55.3811 | 71.8046 | 88.0484 | 72.4544 | 72.7774 | 37.5566 | 12.9235 | 24.4399 | 71.8068 | 44.221 | 49.3079 |  | Supply Maximization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7835e-10 | 3.7835e-10 | 3.7835e-10 | 7.276e-10 | 7.276e-10 | 7.276e-10
| Supply Maximization | 127.2688 | 79.5749 | 97.9672 | 112.0024 | 91.3706 | 95.1959 | 54.8891 | 20.0021 | 32.3785 | 94.6034 | 62.9241 | 70.4603 | Security of Supply | Design Case | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Security of Supply | Design Case | 1.7257 | 0.084368 | 0.36793 | 1.3406 | 0.12331 | 0.43055 | 1.3406 | 0.12331 | 0.43055 | 0 | 0 | 0.14794 |  | 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
Sustainability | CO2 and Other externalities savings (MEUR) | 0.1 / 0.1 | 3.1 / 3.1 | 4 / 4 | 0.1 / 0.2 | 2.3 / 2.3 | 3 / 3 | 0.1 / 0.1 | 0.3 / 0.3 | 1.2 / 1.2 | 0.1 / 0.2 | 2.1 / 2.2 | 2.9 / 3 |  | Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LOW Infrastructure Level
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity |  |  | Year of assessment |  | 2030 | [8 empty] | 2040
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION |  |  | EXISTING |  |  | LOW |  |  | ADVANCED |  |  | EXISTING |  |  | LOW |  |  | ADVANCED
EU Bill benefits With Tariffs | Reference Supply | 20.1951 | 6.9192 | 24.3698 | 50.6118 | 38.1923 | 55.0098 | 0.0016134 | 1.9323e-05 | 5.8251e-05 | 12.1016 | 5.6408 | 15.7792 | Benefits (Meur/year) |  | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA
| Supply Maximization | 43.3981 | 23.2834 | 41.4343 | 68.0265 | 53.1021 | 66.4849 | 0.0084384 | 3.9682e-05 | 9.2783e-05 | 30.5822 | 19.1123 | 28.8979 | EU Bill benefits With Tariffs | Reference Supply | 92.3103 | 64.0283 | 50.4501 | 10.398 | 12.5397 | 19.6111 | 8.4776 | 2.4718 | 4.7614 | 96.655 | 52.3429 | 79.3076 | 23.6373 | 4.9444 | 26.0418 | 19.4876 | 10.626 | 19.3405
Security of Supply | Design Case | 0 | 0 | 0.00029484 | 0 | 0 | 0.00043092 | 0 | 0 | 0.00043092 | 0 | 0 | 0 |  | Supply Maximization | 118.6644 | 89.5031 | 81.7602 | 33.6598 | 29.0318 | 30.9177 | 55.783 | 37.2039 | 51.4019 | 130.2919 | 76.0866 | 103.6616 | 46.8197 | 21.2637 | 45.1294 | 76.0796 | 20.2502 | 60.9143
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Security of Supply | Design Case | 1.8437 | 0.32449 | 0.87939 | 0 | 0 | 0.001134 | 0 | 0 | 0 | 1.6842 | 0 | 0.25365 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings (MEUR) | 0.1 / 0.1 | 1 / 1 | 3.6 / 3.7 | 0.1 / 0.1 | 2.5 / 2.5 | 2.8 / 2.9 | 0 / 0 | 0 / 0 | 0 / 0 | 0.1 / 0.1 | 1 / 1 | 2.8 / 2.9 |  | 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sustainability | CO2 and Other externalities savings | 0 / 0 | 2 / 2 | 4 / 4 | 0 / 0 | 2 / 2 | 4 / 4 | 0 / 0 | 1 / 1 | 1 / 2 | 0 / 0 | 3 / 3 | 4 / 4 | 0 / 0 | 1 / 1 | 4 / 4 | 0 / 0 | 1 / 1 | 2 / 2
|  | ADVANCED Infrastructure Level | [12 empty] | Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION
EU Bill benefits With Tariffs | Reference Supply | 9.9486 | 4.7794 | 8.7778 | 45.7384 | 23.9118 | 43.6136 | 0.00091324 | 1.488e-05 | 4.9017e-05 | 9.9486 | 4.7794 | 8.7778
| Supply Maximization | 45.6451 | 16.9916 | 38.568 | 56.2205 | 39.3442 | 52.6713 | 0.74275 | 0.00067132 | 0.15202 | 45.6451 | 16.9916 | 38.568
Security of Supply | Design Case | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings (MEUR) | 0.1 / 0.1 | 0.8 / 0.8 | 1.4 / 1.4 | 0.1 / 0.1 | 1.2 / 1.2 | 1.8 / 1.8 | 0 / 0 | 0 / 0 | 0 / 0 | 0.1 / 0.1 | 0.8 / 0.8 | 1.4 / 1.4
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0