## Project Information
TYNDP Project Code | Project Name | Promoter | Hosting Country | Project Status | 4th PCI List Code | First Comm Year | Last Comm. Year | Compared to TYNP 2018
TRA-N-0137 | Interconnection Bulgaria - Serbia | Bulgartransgaz EAD | BG | Less-Advanced | 6.8.3 | 2022 | 2022 | Delayed
TRA-N-0128 | Compressor Station Kipi | DESFA S.A. | GR | Less-Advanced | 6.8.1 | 2024 | 2024 | -
TRA-F-0298 | Modernization and rehabilitation of the Bulgarian GTS | Bulgartransgaz EAD | BG | FID | 6.8.2 | 2021 | 2024 | Delayed
TRA-F-0378 | Interconnector Greece-Bulgaria (IGB Project) | ICGB AD | BG | FID | 6.8.1 | 2020 | 2025 | Delayed
TYNDP Project Code | Diameter [mm] | Length [km] | Compressor Power [MW]
TRA-F-0298 | 1000 | 20 | -
TRA-F-0298 | 700 | 23 | -
TRA-F-0298 | 700 | 19 | 20
TRA-F-0298 | 700 | 58 | -
TRA-F-0378 | 813 | 182 | 12
TRA-N-0128 | - | - | 18
TRA-N-0137 | 700 | 62 | -
TRA-N-0137 | 700 | 108 | -
TYNDP Project Code | Point Name | Operator | From System | Exit Capacity [GWh/d] | Increment Comm. Year | To System | Entry Capacity [GWh/d] | Increment Comm. Year
TRA-F-298 | Kulata (BG) / Sidirokastron (GR) | Bulgartransgaz EAD | Transmission Bulgarian Transit Bulgaria (GTNTT) | 13.78 | 2021 | Transmission Greece | - | -
TRA-F-298 | Strandzha (BG) / Malkoclar (TR) | Bulgartransgaz EAD | Transmission Bulgarian Transit Bulgaria (GTNTT) | 58.08 | 2021 | Transmission Turkey (Exports) | - | -
TRA-F-298 | Interconnector BG RS | IBS Future Operator | Transmission Bulgaria (NGTS) | 19.36 | 2024 | Transmission Serbia | 19.36 | 2024
TRA-F-378 | Stara Zagora - IGB / BG | ICGB a.d. | Transmission Interconnector Greece-Bulgaria | 90 | 2020 | Transmission Bulgaria (NGTS) | - | -
TRA-F-378 | Stara Zagora - IGB / BG | ICGB a.d. | Transmission Interconnector Greece-Bulgaria | 60 | 2025 | Transmission Bulgaria (NGTS) | - | -
TRA-F-378 | Komotini - TAP / IGB | ICGB a.d. | Transmission Trans-Adriatic Pipeline Greece | - | - | Transmission Interconnector Greece-Bulgaria | 90 | 2020
TRA-F-378 | Komotini (DESFA) - GR / IGB | ICGB a.d. | Transmission Greece (Komotini) | - | - | Transmission Interconnector Greece-Bulgaria | 90 | 2020
TRA-F-378 | Komotini - TAP / IGB | ICGB a.d. | Transmission Trans-Adriatic Pipeline Greece | - | - | Transmission Interconnector Greece-Bulgaria | 60 | 2025
TRA-F-378 | Komotini (DESFA) - GR / IGB | ICGB a.d. | Transmission Greece (Komotini) | - | - | Transmission Interconnector Greece-Bulgaria | 60 | 2025
TRA-N-128 | Komotini (DESFA) - GR / IGB | DESFA S.A. | Transmission Greece (Komotini) | 62.5 | 2024 | Transmission Interconnector Greece-Bulgaria | - | -
TRA-N-128 | Kipi (TR) / Kipi (GR) | DESFA S.A. | Transmission Turkey (Imports) | - | - | Transmission Greece (Komotini) | 44 | 2024
TRA-N-128 | Komotini (DESFA) Bottleneck | DESFA S.A. | Transmission Greece (Komotini) | - | - | Transmission Greece | 44 | 2024
TRA-N-137 | Interconnector BG RS | IBS Future Operator | Transmission Bulgaria (NGTS) | 58.5 | 2022 | Transmission Serbia | 58.5 | 2022
|  | TRA-F-298 | TRA-F-378 | TRA-N-128 | TRA-N-137 | Total Cost
| CAPEX [mln EUR] | 339.59 | 240 | 15 | 48 | 642,59
| OPEX [mln EUR/y] | 4.55 | 4.5 | 2.8 | 1 | 12,85
| Range CAPEX (%) | 7 | 10 | 10 | 20 | -
| Range OPEX (%) | 2 | 15 | 25 | 20 | -

## Quantitative benefits-NT
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Bosnia Herzegovina | 2 | 4 | 2 | 2 | 4 | 2 | 2 | 4 | 2 | 2 | 3 | 1
Bulgaria | [6 empty] | 2 | 3 | 1
Hungary | 2 | 3 | 1 | 2 | 3 | 1
North Noth Macedonia | 2 | 3 | 1 | 2 | 3 | 1 | 2 | 3 | 1
Serbia | 2 | 4 | 2 | 2 | 4 | 2 | 2 | 4 | 2 | 2 | 3 | 1
LNG and Interconnection Capacity Diversification (LICD)
Bulgaria | 10000 | 6529.9398 | -3470.0602 | 10000 | 6529.9398 | -3470.0602 | 10000 | 6529.9398 | -3470.0602 | 10000 | 6529.9398 | -3470.0602
Serbia | 10000 | 5006.5381 | -4993.4619 | 10000 | 5007.2453 | -4992.7547 | 10000 | 5081.628 | -4918.372 | 10000 | 5085.6645 | -4914.3355
MASD-RU
Bosnia Herzegovina | 44% | 22.83% | -21.2% | 46% | 24% | -22% | 42.83% | 32.83% | -10% | 44.83% | 36% | -8.8%
Bulgaria | 24.2% | 22% | -2.2% | 26.08% | 23.08% | -3%
North Noth Macedonia | 24.95% | 22% | -2.9% | 26.92% | 22.92% | -4%
Serbia | 44% | 22.09% | -21.9% | 46% | 23.42% | -22.6% | 43.06% | 33.06% | -10% | 45.06% | 35.38% | -9.7%
Security of Supply
Curtailment Rate 2-Week Cold Spell (%)
Bosnia Herzegovina | -8% | 0% | 8% | -8% | 0% | 8% | -18% | 0% | 18% | -14% | 0% | 14%
Serbia | -7.25% | 0% | 7.25% | -7.25% | 0% | 7.25% | -17.76% | 0% | 17.76% | -13.22% | 0% | 13.22%
Curtailment Rate 2-Week Cold Spell (%) --- DF
Bosnia Herzegovina | -8% | 0% | 8% | -8% | 0% | 8% | -18% | 0% | 18% | -14% | 0% | 14%
Serbia | -7.25% | 0% | 7.25% | -7.25% | 0% | 7.25% | -17.85% | 0% | 17.85% | -13.49% | 0% | 13.49%
Curtailment Rate Peak Day (%)
Bosnia Herzegovina | -18% | 0% | 18% | -18% | 0% | 18% | -36% | -27.27% | 8.735%
Serbia | -16.88% | 0% | 16.88% | -16.88% | 0% | 16.88% | -34.03% | -2.187% | 31.84% | -36.02% | -3.289% | 32.73%
Remaining Flexibility 2-Week Cold Spell (%)
Bosnia Herzegovina | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 54.07% | 54.07%
Greece |  |  |  | 42.46% | 61.52% | 19.06% | 66.93% | 89.27% | 22.34% | 50.68% | 70.84% | 20.16%
Serbia | 0% | 35.24% | 35.24% | 0% | 35.24% | 35.24% | 0% | 20.14% | 20.14% | 0% | 28.08% | 28.08%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Bosnia Herzegovina | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 46.78% | 46.78%
Greece |  |  |  | 36.32% | 54.56% | 18.24% | 34.24% | 52.2% | 17.96% | 27.69% | 44.77% | 17.09%
Serbia | 0% | 35.24% | 35.24% | 0% | 35.24% | 35.24% | 0% | 20.03% | 20.03% | 0% | 27.77% | 27.77%
Remaining Flexibility Peak day (%)
Bosnia Herzegovina | 0% | 94.38% | 94.38% | 0% | 94.38% | 94.38%
Greece | 47.04% | 66.71% | 19.68% | 19.87% | 35.91% | 16.04% | 26.46% | 43.38% | 16.92% | 22.46% | 38.85% | 16.39%
Hungary | 72.26% | 77.47% | 5.21% | 63.91% | 68.88% | 4.977%
Serbia | 0% | 20.92% | 20.92% | 0% | 20.92% | 20.92%
Single Largest Infrastructure Disruption (SLID)-Greece
Greece | 34.2% | 14.52% | -19.68% | 46.36% | 30.31% | -16.04% | 43.41% | 26.48% | -16.92% | 45.2% | 28.81% | -16.39%
Single Largest Infrastructure Disruption (SLID)-Serbia
Bosnia Herzegovina | 86% | 48% | -38% | 86% | 48% | -38% | 90% | 60% | -30% | 90% | 62% | -28%
Serbia | 84.2% | 47.32% | -36.88% | 84.2% | 47.32% | -36.88% | 88.14% | 58.51% | -29.63% | 89.42% | 60.28% | -29.15%
Market Integration
Bi-directionality - Country
BGn <=> RS | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Bosnia Herzegovina | 2 | 3 | 1 | 2 | 3 | 1 | 2 | 3 | 1 | 2 | 3 | 1
Bulgaria | 1 | 3 | 2 | 1 | 3 | 2 | 1 | 3 | 2 | 1 | 2 | 1
North Noth Macedonia | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 2 | 1
Romania | [6 empty] | 2 | 3 | 1 | 1 | 2 | 1
Serbia | 2 | 3 | 1 | 2 | 3 | 1 | 2 | 3 | 1 | 2 | 3 | 1
LNG and Interconnection Capacity Diversification (LICD)
Bulgaria | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261
Serbia | 10000 | 5006.5381 | -4993.4619 | 10000 | 5007.2453 | -4992.7547 | 10000 | 5081.628 | -4918.372 | 10000 | 5085.6645 | -4914.3355
MASD-RU
Bosnia Herzegovina | 30.83% | 22% | -8.8% | 34% | 26% | -8% | 32% | 10% | -22% | 32% | 9.655% | -22.3%
Bulgaria | 31.08% | 22% | -9.1% | 34% | 26% | -8% | 32% | 10% | -22% | 32% | 8.664% | -23.3%
North Noth Macedonia | 30.95% | 22% | -8.9% | 34% | 26% | -8% | 32% | 10% | -22% | 32% | 10.14% | -21.9%
Romania | 30% | 22% | -8% | 33.06% | 26% | -7.1%
Serbia | 31.07% | 22% | -9.1% | 34% | 26% | -8% | 32% | 10% | -22% | 32% | 9.697% | -22.3%
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Greece |  |  |  | 73.86% | 92.93% | 19.06% |  |  |  | 83.9% | 100% | 16.1%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Greece |  |  |  | 66.38% | 84.62% | 18.24% | 63.83% | 81.79% | 17.96% | 55.84% | 72.93% | 17.09%
Remaining Flexibility Peak day (%)
Greece | 79.45% | 99.13% | 19.68% | 46.3% | 62.34% | 16.04% | 54.34% | 71.26% | 16.92% | 49.46% | 65.84% | 16.39%
Market Integration
Bi-directionality - Country
BGn <=> RS | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
ADVANCED
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Bulgaria | 3 | 4 | 1 | 3 | 4 | 1
Greece | 3 | 4 | 1 | 3 | 4 | 1
North Noth Macedonia | 3 | 4 | 1
LNG and Interconnection Capacity Diversification (LICD)
Bulgaria | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261 | 5781.89 | 3666.4706 | -2115.4194 | 5741.4519 | 3648.3316 | -2093.1203
Serbia | 3687.7354 | 2718.4417 | -969.2936 | 3692.1161 | 2720.0638 | -972.0522 | 3930.8106 | 2822.9349 | -1107.8757 | 3940.2728 | 2827.5122 | -1112.7605
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Greece |  |  |  | 73.86% | 92.93% | 19.06% |  |  |  | 66.45% | 86.61% | 20.16%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Greece |  |  |  | 66.38% | 84.62% | 18.24% | 60.01% | 77.98% | 17.96% | 35.55% | 52.63% | 17.09%
Remaining Flexibility Peak day (%)
Greece | 79.45% | 99.13% | 19.68% | 46.3% | 62.34% | 16.04% | 49.39% | 66.32% | 16.92% | 28.45% | 44.83% | 16.39%
Market Integration
Bi-directionality - Country
BGn <=> RS | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%

## Quantitative benefits-DE
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Bosnia Herzegovina | 2 | 4 | 2 | 2 | 4 | 2 | 2 | 4 | 2
Czechia | [6 empty] | 2 | 3 | 1
Greece | [9 empty] | 3 | 4 | 1
Hungary | 2 | 3 | 1 | 2 | 3 | 1
North Noth Macedonia | 2 | 3 | 1 | 2 | 3 | 1
Romania | [6 empty] | 2 | 3 | 1 | 2 | 3 | 1
Serbia | 2 | 4 | 2 | 2 | 4 | 2 | 2 | 4 | 2
LNG and Interconnection Capacity Diversification (LICD)
Bulgaria | 10000 | 6529.9398 | -3470.0602 | 10000 | 6529.9398 | -3470.0602 | 10000 | 6529.9398 | -3470.0602 | 10000 | 6529.9398 | -3470.0602
Serbia | 10000 | 5006.5381 | -4993.4619 | 10000 | 5007.2453 | -4992.7547 | 10000 | 5081.628 | -4918.372 | 10000 | 5085.6645 | -4914.3355
MASD-RU
Bosnia Herzegovina | 44% | 22.83% | -21.2% | 46% | 24% | -22% | 42% | 22% | -20%
Bulgaria | 24.2% | 22% | -2.2% | 26.08% | 23.08% | -3%
North Noth Macedonia | 24.95% | 22% | -2.9% | 26.92% | 22.92% | -4%
Serbia | 44% | 22.09% | -21.9% | 46% | 23.42% | -22.6% | 42% | 21.47% | -20.5%
Security of Supply
Curtailment Rate 2-Week Cold Spell (%)
Bosnia Herzegovina | -8% | 0% | 8% | -8% | 0% | 8% | -18% | 0% | 18% | -20% | 0% | 20%
Serbia | -7.25% | 0% | 7.25% | -7.25% | 0% | 7.25% | -16.52% | 0% | 16.52% | -19.22% | 0% | 19.22%
Curtailment Rate 2-Week Cold Spell (%) --- DF
Bosnia Herzegovina | -8% | 0% | 8% | -8% | 0% | 8% | -18% | 0% | 18% | -20% | 0% | 20%
Serbia | -7.25% | 0% | 7.25% | -7.25% | 0% | 7.25% | -16.61% | 0% | 16.61% | -19.46% | 0% | 19.46%
Curtailment Rate Peak Day (%)
Bosnia Herzegovina | -18% | 0% | 18% | -18% | 0% | 18% | -36% | -27.27% | 8.735%
Serbia | -16.88% | 0% | 16.88% | -16.88% | 0% | 16.88% | -34.03% | -2.187% | 31.84% | -36.02% | -3.289% | 32.73%
Remaining Flexibility 2-Week Cold Spell (%)
Bosnia Herzegovina | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 54.07% | 54.07%
Greece |  |  |  | 42.46% | 61.52% | 19.06% | 16.02% | 30.05% | 14.03%
Serbia | 0% | 35.24% | 35.24% | 0% | 35.24% | 35.24% | 0% | 21.96% | 21.96% | 0% | 18.7% | 18.7%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Bosnia Herzegovina | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 46.78% | 46.78%
Greece |  |  |  | 36.32% | 54.56% | 18.24% | 5.502% | 18.86% | 13.36% | 25.94% | 40.73% | 14.79%
Serbia | 0% | 35.24% | 35.24% | 0% | 35.24% | 35.24% | 0% | 21.85% | 21.85% | 0% | 18.41% | 18.41%
Remaining Flexibility Peak day (%)
Bosnia Herzegovina | 0% | 94.38% | 94.38% | 0% | 94.38% | 94.38%
Greece | 47.04% | 66.71% | 19.68% | 19.87% | 35.91% | 16.04% | 5.461% | 18.22% | 12.75% | 46.73% | 61.08% | 14.35%
Hungary | 72.26% | 77.47% | 5.21% | 63.91% | 68.88% | 4.977%
Serbia | 0% | 20.92% | 20.92% | 0% | 20.92% | 20.92%
Single Largest Infrastructure Disruption (SLID)-Greece
Greece | 34.2% | 14.52% | -19.68% | 46.36% | 30.31% | -16.04% | 47.19% | 34.44% | -12.75% | 12.52% | 0% | -12.52%
Single Largest Infrastructure Disruption (SLID)-Serbia
Bosnia Herzegovina | 86% | 48% | -38% | 86% | 48% | -38% | 90% | 60% | -30% | 90% | 62% | -28%
Serbia | 84.2% | 47.32% | -36.88% | 84.2% | 47.32% | -36.88% | 88.14% | 58.51% | -29.63% | 89.42% | 60.28% | -29.15%
Market Integration
Bi-directionality - Country
BGn <=> RS | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Bosnia Herzegovina | 2 | 3 | 1 | 2 | 3 | 1 | 3 | 4 | 1 | 3 | 4 | 1
Bulgaria | 1 | 3 | 2 | 1 | 3 | 2 | 2 | 3 | 1 | 2 | 4 | 2
North Noth Macedonia | 1 | 2 | 1 | 1 | 2 | 1 |  |  |  | 3 | 4 | 1
Romania | [6 empty] | 3 | 4 | 1 | 2 | 4 | 2
Serbia | 2 | 3 | 1 | 2 | 3 | 1 | 3 | 4 | 1 | 3 | 4 | 1
LNG and Interconnection Capacity Diversification (LICD)
Bulgaria | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261
Serbia | 10000 | 5006.5381 | -4993.4619 | 10000 | 5007.2453 | -4992.7547 | 10000 | 5081.628 | -4918.372 | 10000 | 5085.6645 | -4914.3355
MASD-RU
Bosnia Herzegovina | 30.83% | 22% | -8.8% | 34% | 26% | -8% | 28.83% | 6.964% | -21.9% | 8.827% | 0% | -8.8%
Bulgaria | 31.08% | 22% | -9.1% | 34% | 26% | -8% | 29.19% | 8.31% | -20.9% | 9.153% | 0% | -9.2%
North Noth Macedonia | 30.95% | 22% | -8.9% | 34% | 26% | -8% | 29.02% | 8.138% | -20.9% | 9.072% | 0% | -9.1%
Romania | 30% | 22% | -8% | 33.06% | 26% | -7.1% | 29.05% | 16.1% | -12.9% | 9.068% | 6.383% | -2.7%
Serbia | 31.07% | 22% | -9.1% | 34% | 26% | -8% | 29.06% | 7.818% | -21.2% | 9.061% | 0% | -9.1%
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Greece |  |  |  | 73.86% | 92.93% | 19.06% | 39.14% | 53.17% | 14.03%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Greece |  |  |  | 66.38% | 84.62% | 18.24% | 27.5% | 40.86% | 13.36% | 50.31% | 65.1% | 14.79%
Remaining Flexibility Peak day (%)
Greece | 79.45% | 99.13% | 19.68% | 46.3% | 62.34% | 16.04% | 26.47% | 39.23% | 12.75% | 70.37% | 84.72% | 14.35%
Market Integration
Bi-directionality - Country
BGn <=> RS | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
ADVANCED
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Bosnia Herzegovina | [9 empty] | 4 | 5 | 1
Bulgaria | 3 | 4 | 1 | 3 | 4 | 1 |  |  |  | 4 | 5 | 1
Greece | 3 | 4 | 1 | 3 | 4 | 1
Hungary | [9 empty] | 4 | 5 | 1
North Noth Macedonia | 3 | 4 | 1 | [6 empty] | 4 | 5 | 1
Romania | [9 empty] | 4 | 5 | 1
Serbia | [9 empty] | 4 | 5 | 1
LNG and Interconnection Capacity Diversification (LICD)
Bulgaria | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261 | 5547.9032 | 3574.2105 | -1973.6928 | 5652.7261 | 3611.6451 | -2041.0811
Serbia | 3687.7354 | 2718.4417 | -969.2936 | 3692.1161 | 2720.0638 | -972.0522 | 3930.8106 | 2822.9349 | -1107.8757 | 3940.2728 | 2827.5122 | -1112.7605
Security of Supply
Remaining Flexibility 2-Week Cold Spell (%)
Greece |  |  |  | 73.86% | 92.93% | 19.06% | 37.12% | 51.15% | 14.03%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Greece |  |  |  | 66.38% | 84.62% | 18.24% | 24.67% | 38.02% | 13.36% | 32.75% | 47.53% | 14.79%
Remaining Flexibility Peak day (%)
Greece | 79.45% | 99.13% | 19.68% | 46.3% | 62.34% | 16.04% | 22.75% | 35.5% | 12.75% | 51.97% | 66.32% | 14.35%
Market Integration
Bi-directionality - Country
BGn <=> RS | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%

## Quantitative benefits-GA
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Bosnia Herzegovina | 2 | 4 | 2 | 2 | 4 | 2 | 2 | 4 | 2 | 2 | 4 | 2
Greece | [6 empty] | 3 | 4 | 1
Hungary | 2 | 3 | 1 | 2 | 3 | 1
North Noth Macedonia | 2 | 3 | 1 | 2 | 3 | 1 | 2 | 3 | 1 | 2 | 3 | 1
Serbia | 2 | 4 | 2 | 2 | 4 | 2 | 2 | 4 | 2 | 2 | 4 | 2
LNG and Interconnection Capacity Diversification (LICD)
Bulgaria | 10000 | 6529.9398 | -3470.0602 | 10000 | 6529.9398 | -3470.0602 | 10000 | 6529.9398 | -3470.0602 | 10000 | 6529.9398 | -3470.0602
Serbia | 10000 | 5006.5381 | -4993.4619 | 10000 | 5007.2453 | -4992.7547 | 10000 | 5081.628 | -4918.372 | 10000 | 5085.6645 | -4914.3355
MASD-RU
Bosnia Herzegovina | 44% | 22.83% | -21.2% | 46% | 24% | -22% | 48% | 24.83% | -23.2% | 42% | 26.83% | -15.2%
Bulgaria | 24.2% | 22% | -2.2% | 26.08% | 23.08% | -3%
North Noth Macedonia | 24.95% | 22% | -2.9% | 26.92% | 22.92% | -4%
Serbia | 44% | 22.09% | -21.9% | 46% | 23.42% | -22.6% | 48% | 25.06% | -22.9% | 42% | 26.03% | -16%
Security of Supply
Curtailment Rate 2-Week Cold Spell (%)
Bosnia Herzegovina | -8% | 0% | 8% | -8% | 0% | 8% | -24% | 0% | 24% | -26% | 0% | 26%
Serbia | -7.25% | 0% | 7.25% | -7.25% | 0% | 7.25% | -22.55% | 0% | 22.55% | -24.7% | 0% | 24.7%
Curtailment Rate 2-Week Cold Spell (%) --- DF
Bosnia Herzegovina | -8% | 0% | 8% | -8% | 0% | 8% | -24% | 0% | 24% | -26% | 0% | 26%
Greece | [6 empty] | -9.581% | 0% | 9.581%
Serbia | -7.25% | 0% | 7.25% | -7.25% | 0% | 7.25% | -22.63% | 0% | 22.63% | -24.9% | 0% | 24.9%
Curtailment Rate Peak Day (%)
Bosnia Herzegovina | -18% | 0% | 18% | -18% | 0% | 18% | -36% | -27.27% | 8.735%
Greece | [6 empty] | -19.07% | -8.823% | 10.24%
Serbia | -16.88% | 0% | 16.88% | -16.88% | 0% | 16.88% | -34.03% | -2.187% | 31.84% | -36.02% | -3.289% | 32.73%
Remaining Flexibility 2-Week Cold Spell (%)
Bosnia Herzegovina | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 54.07% | 54.07%
Greece |  |  |  | 42.46% | 61.52% | 19.06% | 2.179% | 15.11% | 12.93% | 29.96% | 44.52% | 14.56%
Serbia | 0% | 35.24% | 35.24% | 0% | 35.24% | 35.24% | 0% | 12.79% | 12.79% | 0% | 10.17% | 10.17%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Bosnia Herzegovina | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 46.78% | 46.78%
Greece |  |  |  | 36.32% | 54.56% | 18.24% | 0% | 1.99% | 1.99% | 3.371% | 15.81% | 12.44%
Serbia | 0% | 35.24% | 35.24% | 0% | 35.24% | 35.24% | 0% | 12.68% | 12.68% | 0% | 9.899% | 9.899%
Remaining Flexibility Peak day (%)
Bosnia Herzegovina | 0% | 94.38% | 94.38% | 0% | 94.38% | 94.38%
Greece | 47.04% | 66.71% | 19.68% | 19.87% | 35.91% | 16.04% |  |  |  | 0.6569% | 11.94% | 11.28%
Hungary | 72.26% | 77.47% | 5.21% | 63.91% | 68.88% | 4.977%
Serbia | 0% | 20.92% | 20.92% | 0% | 20.92% | 20.92%
Single Largest Infrastructure Disruption (SLID)-Greece
Greece | 34.2% | 14.52% | -19.68% | 46.36% | 30.31% | -16.04% | 61.36% | 51.11% | -10.24% | 45.91% | 34.63% | -11.28%
Single Largest Infrastructure Disruption (SLID)-Serbia
Bosnia Herzegovina | 86% | 48% | -38% | 86% | 48% | -38% | 90% | 60% | -30% | 90% | 62% | -28%
Greece | [6 empty] | 19.07% | 8.823% | -10.24%
Serbia | 84.2% | 47.32% | -36.88% | 84.2% | 47.32% | -36.88% | 88.14% | 58.51% | -29.63% | 89.42% | 60.28% | -29.15%
Market Integration
Bi-directionality - Country
BGn <=> RS | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Bosnia Herzegovina | 2 | 3 | 1 | 2 | 3 | 1 | 3 | 4 | 1 | 3 | 4 | 1
Bulgaria | 1 | 3 | 2 | 1 | 3 | 2 | 2 | 3 | 1 | 2 | 4 | 2
North Noth Macedonia | 1 | 2 | 1 | 1 | 2 | 1 |  |  |  | 2 | 3 | 1
Romania | [6 empty] | 2 | 3 | 1 | 2 | 4 | 2
Serbia | 2 | 3 | 1 | 2 | 3 | 1 | 3 | 4 | 1 | 3 | 4 | 1
LNG and Interconnection Capacity Diversification (LICD)
Bulgaria | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261
Serbia | 10000 | 5006.5381 | -4993.4619 | 10000 | 5007.2453 | -4992.7547 | 10000 | 5081.628 | -4918.372 | 10000 | 5085.6645 | -4914.3355
MASD-RU
Bosnia Herzegovina | 30.83% | 22% | -8.8% | 34% | 26% | -8% | 34% | 18.96% | -15% | 28% | 2.482% | -25.5%
Bulgaria | 31.08% | 22% | -9.1% | 34% | 26% | -8% | 34% | 21.14% | -12.9% | 28% | 3.514% | -24.5%
North Noth Macedonia | 30.95% | 22% | -8.9% | 34% | 26% | -8% | 34% | 20.14% | -13.9% | 28% | 3.215% | -24.8%
Romania | 30% | 22% | -8% | 33.06% | 26% | -7.1% | 34% | 26.38% | -7.6%
Serbia | 31.07% | 22% | -9.1% | 34% | 26% | -8% | 34% | 20.37% | -13.6% | 28% | 3.182% | -24.8%
Security of Supply
Curtailment Rate Peak Day (%)
Greece | [6 empty] | -2.19% | 0% | 2.19%
Remaining Flexibility 2-Week Cold Spell (%)
Greece |  |  |  | 73.86% | 92.93% | 19.06% | 23.49% | 36.42% | 12.93% | 53.95% | 68.51% | 14.56%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Greece |  |  |  | 66.38% | 84.62% | 18.24% | 9.482% | 21.05% | 11.57% | 23.87% | 36.31% | 12.44%
Remaining Flexibility Peak day (%)
Greece | 79.45% | 99.13% | 19.68% | 46.3% | 62.34% | 16.04% | 0% | 8.055% | 8.055% | 19.24% | 30.52% | 11.28%
Single Largest Infrastructure Disruption (SLID)-Greece
Greece | 1.78% | 0% | -1.78% | 19.93% | 3.887% | -16.04% | 44.48% | 34.24% | -10.24% | 27.33% | 16.05% | -11.28%
Market Integration
Bi-directionality - Country
BGn <=> RS | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%
ADVANCED
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
Commercial Supply Access (CSA)
Bulgaria | 3 | 4 | 1 | 3 | 4 | 1
Greece | 3 | 4 | 1 | 3 | 4 | 1
North Noth Macedonia | 3 | 4 | 1
LNG and Interconnection Capacity Diversification (LICD)
Bulgaria | 10000 | 5411.3739 | -4588.6261 | 10000 | 5411.3739 | -4588.6261 | 5573.7673 | 3582.8171 | -1990.9502 | 5639.7115 | 3606.6376 | -2033.0739
Serbia | 3687.7354 | 2718.4417 | -969.2936 | 3692.1161 | 2720.0638 | -972.0522 | 3930.8106 | 2822.9349 | -1107.8757 | 3940.2728 | 2827.5122 | -1112.7605
Security of Supply
Curtailment Rate Peak Day (%)
Greece | [6 empty] | -4.75% | 0% | 4.75%
North Noth Macedonia | [6 empty] | -6% | 0% | 6%
Remaining Flexibility 2-Week Cold Spell (%)
Greece |  |  |  | 73.86% | 92.93% | 19.06% | 21.62% | 34.56% | 12.93% | 41.35% | 55.91% | 14.56%
Remaining Flexibility 2-Week Cold Spell (%) --- DF
Greece |  |  |  | 66.38% | 84.62% | 18.24% | 7.025% | 18.6% | 11.57% | 9.094% | 21.54% | 12.44%
North Noth Macedonia | [6 empty] | 97.31% | 100% | 2.686%
Remaining Flexibility Peak day (%)
Greece | 79.45% | 99.13% | 19.68% | 46.3% | 62.34% | 16.04% | 0% | 5.062% | 5.062% | 4.779% | 16.06% | 11.28%
North Noth Macedonia | [6 empty] | 0% | 70.22% | 70.22%
Single Largest Infrastructure Disruption (SLID)-Serbia
Greece | [6 empty] | 2.19% | 0% | -2.19%
North Noth Macedonia | [6 empty] | 41.52% | 0% | -41.52%
Market Integration
Bi-directionality - Country
BGn <=> RS | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100% | 0% | 100% | 100%

## Monetized benefits
Reference
|  | EXISTING |  |  | LOW |  |  | ADVANCED | [7 empty] | Reference
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION |  |  |  | Sustainability |  | EXISTING |  |  | LOW |  |  | ADVANCED
EU Bill benefits With Tariffs | Reference Supply | 72.3738 | 63.3361 | 70.5867 | 19.5402 | 13.1578 | 19.117 | 17.7963 | 11.0494 | 13.3586 |  |  |  | CO2 and Other externalities (KtCO2 eq/y) | Reference | 51 / 82 | 61 / 88 | 63 / 90 | -1 / 5 | 3 / 13 | 1 / 10 | 0 / 6 | -3 / 11 | -3 / 12
| Supply Maximization | 103.209 | 94.071 | 101.4219 | 45.2448 | 39.1014 | 45.1691 | 30.5932 | 26.0506 | 25.6272 |  |  |  |  | Lower Tariff Sensitivity | 57 / 87 | 61 / 92 | 68 / 97 | 1 / 15 | 4 / 19 | 3 / 20 | 1 / 6 | -3 / 11 | 8 / 19
Security of Supply | Design Case | 5.4521 | 5.3802 | 5.8979 | 1.8881 | 1.8881 | 2.1041 | 0 | 0 | 0.57129 |  |  |  |  | Higher Tariff Sensitivity | 50 / 81 | 52 / 76 | 61 / 86 | -1 / 1 | -2 / 0 | -1 / 5 | -23 / 6 | -10 / 3 | -17 / 2
| 2-weeks Cold Spell | 10.4729 | 12.4235 | 16.9169 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 10.5932 | 12.5438 | 22.2044 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings | 2.1 / 3.3 | 2.9 / 4.6 | 3.1 / 4.3 | 0 / 0.2 | 0.4 / 1 | 0.2 / 0.6 | 0 / 0.2 | 0 / 0.7 | 0.1 / 0.8 | [24 empty] | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity | Higher Tariff Sensitivity | Cost of Disruption Sensitivity
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 14 / 42 | 1 / 53 | 1 / 59 |  |  | 51 / 82 | 61 / 88 | 63 / 90
[34 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 0 / 4 | 0 / 15 | 0 / 11 |  |  | -1 / 5 | 3 / 13 | 1 / 10
[34 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 0 / 6 | 0 / 11 | 0 / 12 |  |  | 0 / 6 | -3 / 11 | -3 / 12
[14 empty] | Year of assessment |  | 2020 | [8 empty] | 2025
|  | EXISTING Infrastructure Level | [13 empty] | EXISTING |  |  | LOW |  |  | ADVANCED |  |  | EXISTING |  |  | LOW |  |  | ADVANCED
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity |  |  | Benefits (Meur/year) |  | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | EU Bill benefits With Tariffs | Reference Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81.7746 | 81.7746 | 81.7746 | 20.1139 | 20.1139 | 20.1139 | 19.2205 | 19.2205 | 19.2205
EU Bill benefits With Tariffs | Reference Supply | 73.9193 | 60.5328 | 70.7215 | 88.3783 | 82.2796 | 88.7073 | 61.7267 | 43.3783 | 54.2657 | 72.3738 | 63.3361 | 70.5867 |  | Supply Maximization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 113.8946 | 113.8946 | 113.8946 | 49.4736 | 49.4736 | 49.4736 | 56.4109 | 56.4109 | 56.4109
| Supply Maximization | 106.0393 | 92.4998 | 102.8415 | 119.2135 | 113.05 | 119.5425 | 92.5619 | 72.6779 | 85.1009 | 103.209 | 94.071 | 101.4219 | Security of Supply | Design Case | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5179 | 22.1693 | 4.5179 | 1.4859 | 1.4859 | 1.4859 | 0 | 0 | 0
Security of Supply | Design Case | 3.6699 | 3.5601 | 3.6699 | 5.4521 | 5.3802 | 5.8979 | 5.4521 | 5.3802 | 5.8979 | 4.5456 | 4.5456 | 5.5349 |  | 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7736 | 5.7736 | 5.7736 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell | 234.7085 | 14.9119 | 20.7004 | 10.4729 | 12.4235 | 16.9169 | 10.4729 | 12.4235 | 16.9169 | 22.0904 | 26.2048 | 35.6826 |  | 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7736 | 5.7736 | 5.7736 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 11.9044 | 15.0809 | 26.0366 | 10.5932 | 12.5438 | 22.2044 | 10.5932 | 12.5438 | 22.2044 | 22.3442 | 26.4585 | 47.4042 | Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 9 / 9 | 9 / 9 | 9 / 9 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
Sustainability | CO2 and Other externalities savings (MEUR) | 0.8 / 1.9 | 2 / 3.7 | 2.4 / 3.6 | 2.3 / 3.5 | 2.9 / 4.8 | 3.4 / 4.8 | 2 / 3.2 | 2.1 / 3.5 | 2.9 / 4 | 2.1 / 3.3 | 2.9 / 4.6 | 3.1 / 4.3 |  | Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LOW Infrastructure Level
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity |  |  | Year of assessment |  | 2030 | [8 empty] | 2040
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION |  |  | EXISTING |  |  | LOW |  |  | ADVANCED |  |  | EXISTING |  |  | LOW |  |  | ADVANCED
EU Bill benefits With Tariffs | Reference Supply | 20.6174 | 10.9346 | 19.8339 | 30.7919 | 21.5166 | 27.0874 | 0.89756 | 0.25839 | 0.43834 | 19.5402 | 13.1578 | 19.117 | Benefits (Meur/year) |  | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA
| Supply Maximization | 47.4073 | 37.3962 | 45.989 | 66.0573 | 51.4337 | 57.6716 | 21.9658 | 16.3323 | 21.3657 | 45.2448 | 39.1014 | 45.1691 | EU Bill benefits With Tariffs | Reference Supply | 72.2693 | 69.6861 | 75.248 | 19.1572 | 18.7846 | 20.0278 | 17.6784 | 16.9278 | 18.9176 | 73.1476 | 51.4035 | 66.0933 | 21.4768 | 4.9752 | 19.6756 | 18.7132 | 1.5509 | 6.0566
Security of Supply | Design Case | 2.184 | 2.184 | 2.2793 | 1.8881 | 1.8881 | 2.1041 | 1.8881 | 1.8881 | 2.1041 | 0 | 0 | 0.26785 |  | Supply Maximization | 104.3893 | 101.8061 | 107.368 | 46.1914 | 44.8292 | 49.0622 | 23.662 | 20.3343 | 22.1257 | 105.2676 | 83.2597 | 98.2133 | 48.4299 | 31.0528 | 43.6784 | 32.3837 | 11.9969 | 11.6
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Security of Supply | Design Case | 6.1575 | 6.1575 | 7.6434 | 2.3358 | 2.3358 | 2.971 | 0 | 0 | 1.5034 | 6.1575 | 26.9904 | 6.1575 | 2.3358 | 2.3358 | 2.3358 | 0 | 0 | 0.1659
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2-weeks Cold Spell | 15.6746 | 14.4122 | 21.1883 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9314 | 17.061 | 23.5363 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings (MEUR) | 0 / 0.2 | 0.7 / 1.3 | 0.4 / 0.8 | 0 / 0.6 | 0.4 / 1.3 | 0.3 / 1.1 | 0 / 0 | 0 / 0 | 0 / 0.3 | 0 / 0.2 | 0.4 / 1 | 0.2 / 0.6 |  | 2-weeks Cold Spell DF | 15.767 | 14.5046 | 38.5049 | 0 | 0 | 0 | 0 | 0 | 0 | 11.175 | 17.3046 | 23.7799 | 0 | 0 | 0 | 0 | 0 | 0
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sustainability | CO2 and Other externalities savings | 0 / 2 | 0 / 3 | 0 / 1 | 0 / 0 | 0 / 1 | 0 / 0 | 0 / 0 | 0 / 1 | 0 / 0 | 0 / 0 | 2 / 3 | 3 / 4 | 0 / 0 | 1 / 2 | 1 / 1 | 0 / 0 | 0 / 1 | 2 / 2
|  | ADVANCED Infrastructure Level | [12 empty] | Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION
EU Bill benefits With Tariffs | Reference Supply | 17.7963 | 11.0494 | 13.3586 | 28.0256 | 17.0694 | 22.9055 | 0 | 0 | 0 | 17.7963 | 11.0494 | 13.3586
| Supply Maximization | 30.5932 | 26.0506 | 25.6272 | 52.6593 | 40.2194 | 41.9857 | 7.8596 | 9.5886 | 7.914 | 30.5932 | 26.0506 | 25.6272
Security of Supply | Design Case | 0 | 0 | 0.57129 | 0 | 0 | 0.57129 | 0 | 0 | 0.57129 | 0 | 0 | 0.62843
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings (MEUR) | 0.2 / 0 | 0.7 / 0 | 0.8 / 0.1 | 0 / 0.2 | 0 / 0.7 | 0.6 / 1.2 | 0 / 0.2 | 0 / 0.2 | 0 / 0.1 | 0 / 0.2 | 0 / 0.7 | 0.1 / 0.8
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0