## Project Information
TYNDP Project Code | Project Name | Promoter | Hosting Country | Project Status | 4th PCI List Code | First Comm Year | Last Comm. Year | Compared to TYNP 2018
LNG-N-0912 | Skulte LNG | AS Skulte LNG Terminal | LV | Less-Advanced | - | 2023 | 2024 | Delayed
TRA-N-1181 | Connecting pipe to LNG terminal in Latvia | Conexus Baltic Grid | LV | Less-Advanced | - | 2021 | 2022 | -
TYNDP Project Code | Yearly Volume [bcm/y] | Storage Capacity [m3 LNG] | Ship Size [m3 LNG]
LNG-N-0912 | 1.5 | 700000 | 170000
TYNDP Project Code | Diameter [mm] | Length [km] | Compressor Power [MW]
TRA-N-1181* | - | - | -
TYNDP Project Code | Point Name | Operator | From System | Exit Capacity [GWh/d] | Increment Comm. Year | To System | Entry Capacity [GWh/d] | Increment Comm. Year
LNG-N-912 | Skulte (LV) | AS Skulte LNG Terminal | LNG Terminals Latvia | 150 | 2023 | Transmission Latvia | - | -
TRA-N-1181 | Skulte (LV) | Conexus Baltic Grid | LNG Terminals Latvia | - | - | Transmission Latvia | 170 | 2021
|  | LNG-N-912 | TRA-N-1181 | Total Cost
| CAPEX [min, EUR] | 110 | 26 | 136
| OPEX [min, EUR/y] | 3 | 0.46 | 3.46
| Range CAPEX (%) | 10 | 15 | -
| Range OPEX (%) | 15 | 15 | -

## Quantitative benefits-NT
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Estonia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5299.8203 | -4700.1797 | 10000 | 5196.4102 | -4803.5898
Finland | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5299.8203 | -4700.1797 | 10000 | 5196.4102 | -4803.5898
Latvia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5299.8203 | -4700.1797 | 10000 | 5196.4102 | -4803.5898
MASD-RU
Estonia | 35.16% | 8.116% | -27% | 37.15% | 10.31% | -26.8% | 24.55% | 3.328% | -21.2% | 15.11% | 0% | -15.1%
Latvia | 35.03% | 7.24% | -27.8% | 37.02% | 9.221% | -27.8% | 24% | 3.053% | -20.9% | 15.07% | 0% | -15.1%
Lithuania | 19.48% | 8.011% | -11.5% | 20.59% | 10.26% | -10.3% | 13.79% | 3.447% | -10.3% | 9.176% | 0% | -9.2%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | NT |  |  | NT
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Estonia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5299.8203 | -4700.1797 | 10000 | 5196.4102 | -4803.5898
Finland | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5299.8203 | -4700.1797 | 10000 | 5196.4102 | -4803.5898
Latvia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5299.8203 | -4700.1797 | 10000 | 5196.4102 | -4803.5898
MASD-RU
Estonia | 42% | 18.96% | -23% | 46.73% | 23.73% | -23% | 36% | 15.1% | -20.9% | 30% | 12.5% | -17.5%
Finland | 42% | 17.61% | -24.4% | 46.92% | 22.84% | -24.1% | 36% | 15.06% | -20.9% | 30% | 11.81% | -18.2%
Latvia | 41.43% | 17.17% | -24.3% | 46% | 22.1% | -23.9% | 35.24% | 9.053% | -26.2% | 30% | 7.07% | -22.9%
Lithuania | 30% | 17.95% | -12% | 33.14% | 22.54% | -10.6% | 29.15% | 9.447% | -19.7% | 29.15% | 7.147% | -22%
ADVANCED
N/A

## Quantitative benefits-DE
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Estonia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5272.7639 | -4727.2361
Finland | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5272.7639 | -4727.2361
Latvia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5272.7639 | -4727.2361
MASD-RU
Estonia | 35.16% | 8.116% | -27% | 37.15% | 10.31% | -26.8% | 11.06% | 0% | -11.1%
Latvia | 35.03% | 7.24% | -27.8% | 37.02% | 9.221% | -27.8% | 11.04% | 0% | -11%
Lithuania | 19.48% | 8.011% | -11.5% | 20.59% | 10.26% | -10.3% | 5.841% | 0% | -5.8%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | DE |  |  | DE
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Estonia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5272.7639 | -4727.2361
Finland | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5272.7639 | -4727.2361
Latvia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5272.7639 | -4727.2361
MASD-RU
Estonia | 42% | 18.96% | -23% | 46.73% | 23.73% | -23% | 28.06% | 8.451% | -19.6%
Finland | 42% | 17.61% | -24.4% | 46.92% | 22.84% | -24.1% | 29.02% | 8.152% | -20.9%
Latvia | 41.43% | 17.17% | -24.3% | 46% | 22.1% | -23.9% | 28% | 8.338% | -19.7%
Lithuania | 30% | 17.95% | -12% | 33.14% | 22.54% | -10.6% | 28% | 8.841% | -19.2%
Security of Supply
Baltics Finland Disruption Curtailment Rate Peak Day (%)
Latvia | [6 empty] | -8% | 0% | 8%
Lithuania | [6 empty] | -8% | 0% | 8%
ADVANCED
N/A

## Quantitative benefits-GA
EXISTING
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Estonia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5510.4394 | -4489.5606
Finland | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5510.4394 | -4489.5606
Latvia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5510.4394 | -4489.5606
MASD-RU
Estonia | 35.16% | 8.116% | -27% | 37.15% | 10.31% | -26.8% | 27.06% | 11.71% | -15.4%
Latvia | 35.03% | 7.24% | -27.8% | 37.02% | 9.221% | -27.8% | 26.82% | 12.44% | -14.4%
Lithuania | 19.48% | 8.011% | -11.5% | 20.59% | 10.26% | -10.3% | 14.56% | 12.32% | -2.2%
LOW
Sum of Value | Column Labels
| 2025 | [5 empty] | 2030 |  |  | 2040
| CBG |  |  | GBC |  |  | GA |  |  | GA
Row Labels | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA | WITHOUT | WITH | DELTA
Competition
LNG and Interconnection Capacity Diversification (LICD)
Estonia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5510.4394 | -4489.5606
Finland | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5510.4394 | -4489.5606
Latvia | 10000 | 5361.6644 | -4638.3356 | 10000 | 5475.54 | -4524.46 | 10000 | 5716.9793 | -4283.0207 | 10000 | 5510.4394 | -4489.5606
MASD-RU
Estonia | 42% | 18.96% | -23% | 46.73% | 23.73% | -23% | 39.06% | 26.26% | -12.8% | 6% | 0% | -6%
Finland | 42% | 17.61% | -24.4% | 46.92% | 22.84% | -24.1% | 39.5% | 26.64% | -12.9% | 6% | 0% | -6%
Latvia | 41.43% | 17.17% | -24.3% | 46% | 22.1% | -23.9% | 39.13% | 24.26% | -14.9% | 6% | 0% | -6%
Lithuania | 30% | 17.95% | -12% | 33.14% | 22.54% | -10.6% | 33.12% | 24.24% | -8.9% | 6% | 3.322% | -2.7%
Security of Supply
Baltics Finland Disruption Curtailment Rate Peak Day (%)
Latvia | [6 empty] | -6% | 0% | 6%
Lithuania | [6 empty] | -6% | 0% | 6%
ADVANCED
N/A

## Monetized benefits
Reference
|  | EXISTING |  |  | LOW |  |  | ADVANCED | [7 empty] | Reference
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION |  |  |  | Sustainability |  | EXISTING |  |  | LOW |  |  | ADVANCED
EU Bill benefits With Tariffs | Reference Supply | 0.33207 | 0 | 0 | 3.5469 | 2.2771 | 3.1095 | 0.00018411 | 0.01744 | 0.019458 |  |  |  | CO2 and Other externalities (KtCO2 eq/y) | Reference | 0 / 1 | 0 / 4 | 0 / 3 | 1 / 1 | 3 / 4 | 1 / 3 | 0 / 0 | 2 / 2 | 0 / 1
| Supply Maximization | 5.6188 | 3.5366 | 4.3531 | 22.043 | 13.2165 | 15.061 | 0.34683 | 0.37614 | 0.4157 |  |  |  |  | Lower Tariff Sensitivity | 0 / 0 | 1 / 1 | 0 / 0 | 1 / 1 | 4 / 4 | 1 / 3 | 1 / 1 | 3 / 4 | 1 / 3
Security of Supply | Design Case | 0 | 0 | 0 | 0 | 0.34326 | 0.48109 | 0 | 0 | 0 |  |  |  |  | Higher Tariff Sensitivity | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 0.2 | 0 / 0.1 | 0 / 0 | 0.2 / 0.2 | 0 / 0.1 | 0 / 0 | 0.1 / 0.1 | 0 / 0.1 | [24 empty] | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity | Higher Tariff Sensitivity | Cost of Disruption Sensitivity
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [23 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 0 / 1 | 0 / 4 | 0 / 3 |  |  | 0 / 1 | 0 / 4 | 0 / 3
[34 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 1 / 1 | 0 / 4 | 0 / 3 |  |  | 1 / 1 | 3 / 4 | 1 / 3
[34 empty] | CO2 and Other externalities savings (ktCO2eq/y) | 0 / 0 | 0 / 2 | 0 / 1 |  |  | 0 / 0 | 2 / 2 | 0 / 1
[14 empty] | Year of assessment |  | 2020 | [8 empty] | 2025
|  | EXISTING Infrastructure Level | [13 empty] | EXISTING |  |  | LOW |  |  | ADVANCED |  |  | EXISTING |  |  | LOW |  |  | ADVANCED
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity |  |  | Benefits (Meur/year) |  | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | EU Bill benefits With Tariffs | Reference Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5544 | 2.5544 | 2.5544 | 7.276e-10 | 7.276e-10 | 7.276e-10
EU Bill benefits With Tariffs | Reference Supply | 0.3675 | 0 | 0 | 4.6773 | 2.3312 | 1.4988 | 0 | 0 | 0 | 0.33207 | 0 | 0 |  | Supply Maximization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3312 | 9.3312 | 9.3312 | 24.6951 | 24.6951 | 24.6951 | 1.0554 | 1.0554 | 1.0554
| Supply Maximization | 5.1239 | 2.7901 | 3.6066 | 10.6837 | 6.5415 | 7.475 | 1.0695 | 0.68455 | 0.80037 | 5.6188 | 3.5366 | 4.3531 | Security of Supply | Design Case | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Security of Supply | Design Case | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
Sustainability | CO2 and Other externalities savings (MEUR) | 0 / 0 | 0 / 0.2 | 0 / 0.1 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0.2 | 0 / 0.1 |  | Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LOW Infrastructure Level
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity |  |  | Year of assessment |  | 2030 | [8 empty] | 2040
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION |  |  | EXISTING |  |  | LOW |  |  | ADVANCED |  |  | EXISTING |  |  | LOW |  |  | ADVANCED
EU Bill benefits With Tariffs | Reference Supply | 3.5689 | 2.0727 | 2.9155 | 29.1865 | 17.4923 | 20.229 | 0 | 0 | 0 | 3.5469 | 2.2771 | 3.1095 | Benefits (Meur/year) |  | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA | NT | DE | GA
| Supply Maximization | 21.5781 | 11.2409 | 13.1546 | 47.6827 | 28.6777 | 32.1806 | 0.3656 | 0.32574 | 0.39123 | 22.043 | 13.2165 | 15.061 | EU Bill benefits With Tariffs | Reference Supply | 0.38429 | 0 | 0 | 5.4764 | 5.2062 | 7.7988 | 0.0006137 | 0.058134 | 0.064859 | 0.44294 | 0 | 0 | 2.8302 | 0 | 0.12996 | 0 | 0 | 6.9861e-07
Security of Supply | Design Case | 0 | 0.34326 | 0.24076 | 0 | 0.34326 | 0.48109 | 0 | 0.34326 | 0.48109 | 0 | 0.61669 | 0.42678 |  | Supply Maximization | 5.6182 | 3.0796 | 5.8012 | 23.9917 | 21.0064 | 25.9438 | 0.17094 | 0.37854 | 0.40067 | 3.1443 | 0 | 0 | 18.8831 | 0 | 0.86492 | 9.4477e-05 | 0 | 6.9875e-07
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Security of Supply | Design Case | 0 | 0 | 0 | 0 | 0.90333 | 1.266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings (MEUR) | 0 / 0 | 0.2 / 0.2 | 0 / 0.1 | 0 / 0 | 0.2 / 0.3 | 0 / 0.1 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0.2 / 0.2 | 0 / 0.1 |  | 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sustainability | CO2 and Other externalities savings | 0 / 0 | 0 / 1 | 0 / 0 | 0 / 0 | 1 / 1 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0
|  | ADVANCED Infrastructure Level | [12 empty] | Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Commissioning Year Sensitivity |  |  | Lower Tariff Sensitivity |  |  | Higher Tariff Sensitivity |  |  | Cost of Disruption Sensitivity
Benefits (Meur/year) |  | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION | NATIONAL TRENDS | DISTRIBUTED ENERGY | GLOBAL AMBITION
EU Bill benefits With Tariffs | Reference Supply | 0.00018411 | 0.01744 | 0.019458 | 19.8415 | 12.978 | 14.76 | 0 | 0 | 0 | 0.00018411 | 0.01744 | 0.019458
| Supply Maximization | 0.34683 | 0.37614 | 0.4157 | 27.5166 | 20.3418 | 21.2452 | 0 | 0 | 0 | 0.34683 | 0.37614 | 0.4157
Security of Supply | Design Case | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2-weeks Cold Spell DF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sustainability | CO2 and Other externalities savings (MEUR) | 0 / 0 | 0.1 / 0.1 | 0.1 / 0 | 0 / 0 | 0.2 / 0.2 | 0 / 0.1 | 0 / 0 | 0 / 0 | 0 / 0 | 0 / 0 | 0.1 / 0.1 | 0 / 0.1
| Additional benefit (Promoter) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0