## Slide 1: Interoperability & Data Exchange Network Code. Transparency Platform and EWS.
Prepared by ENTSOG
Presentation Workshop Energy Community
Vienna 18 June 2015

## Slide 2: Mr Paul Relaxed has a dream

## Slide 3: Agenda
No | Registration | Time
 | Registration | 10:00-10:30
1 | Introduction and welcome (Energy Community) Energy Community at glance/Third Package implementation | 10:30-10:45
2 | ENTSOG role and activity (ENTSOG) General introduction NC developed and delivered Scheduled activities and plans | 10:45-11:00
3 | ENTSOG Interoperability Network Code (Interactive session with ENTSOG) Process and timing Interconnection Agreement Units | 11:00-12:30
 | Lunch | 12:30-13:30
4 | Practical examples (Energy Community and Contracting Parties) | 13:30-14:00
5 | ENTSOG Interoperability Network Code overview (Interactive session with ENTSOG) GQ and Odourisation Data exchange Final provisions | 14:00-15:00
 | Coffee break | 15:00-15:15
6 | Short introduction of the Transparency Platform (ENTSOG) | 15:15-15:30
7 | Early Warning System (ENTSOG) | 15:30-16:15
8 | Closing remarks (ENTSOG, Energy Community) | 16:15-16:30

## Slide 4: 2. ENTSOG role and activity Hendrik Pollex System Operation Business Area Manager hendrik.pollex@entsog.eu

## Slide 5: General Introduction
Total power installed in all compressor stations:
12,531 MW
Directly employed staff: 49,540
Length of high-pressure pipeline network:
242,000 km

## Slide 6: General Introduction
As laid down mainly in Article 4 of the Regulation 715/2009, the purpose of ENTSOG is that:
  All transmission system operators shall cooperate at Community level through the ENTSO for gas
  in order to promote the completion and functioning of the internal market in natural gas and cross-border trade
  and to ensure the optimal management, coordinated operation and sound technical evolution of the natural gas transmission network.

## Slide 7: General Introduction
Capacity
Balancing
Tariffs
Investment
Interoperability
Transparency
Board: President and 12 Members
General Assembly 44 TSOs, 3 Associated Partner and 4 Observers
Regional Co-operation
General
Manager
System
Development
Market
System
Operation
Liaison Group
Legal
Financial
Ad hoc DTFS
Administrative
Research Plan

## Slide 8: General Introduction

## Slide 9: NCs developed and delivered
Priority setting
Framework Guidelines
Network Codes
Comitology
PROCESS
LEAD
Commission
ACER
ENTSOG
Council / Parliament
PARTICIPATION & CONTRIBUTION
Stakeholders
Members States
Commission
Regulators
TSOs

## Slide 10: NCs developed and delivered
Phases of Network Code Development
Network Codes
Phase 2
Implementation
Phase 3
Functionality
Phase 1
Development

## Slide 11: NCs developed and delivered
Phases of Network Code Development
Network Codes
Phase 2
Implementation
Phase 3
Functionality
Phase 1
Development
Development of FG
Development of draft NC
ACER Review
Comitology
Monitoring
Implementation
NC amendments

## Slide 12: NCs developed and delivered
Phases of Network Code Development
Network Codes
Phase 2
Implementation
Phase 3
Functionality
Phase 1
Development
Development of FG
Development of draft NC
ACER Review
Comitology
Implementation
Monitoring
NC amendments
CAM
Balancing
Interoperability
Tariffs
CMP
Incremental

## Slide 13: Scheduled activities and plans
No new codes planned
Implementation, Monitoring and
Functionality
Energy Union
Complete TAR NC
Gas / electricity interaction?
Cooperation with the CPs to the Energy Community
SoS Regulation

## Slide 14: 3. ENTSOG Interoperability Network Code Jef DeKeyser Interoperability Subject Manager jef.dekeyser@entsog.eu

## Slide 15: Introduction
    This slide pack has been prepared by the Interoperability Workgroup of ENTSOG
    They are intended to aid TSOs understanding of the Interoperability & Data Exchange Network Code
    For the avoidance of doubt, they provide general information given for indicative purposes only. The information is non-exhaustive and non-contractual in nature
    No warranty is given by ENTSOG in respect of any information so provided

## Slide 16: Why do we need an INT NC?
TSO1
TSO2
TSO3
Shipper1
Shipper2
Production
IP1
IP2
Consumption
Users, when crossing different systems, would like to be sure that:
  They remain unaffected
  No quality issues raised
  Same procedures followed by TSOs
  Communication rules are clear and common
Market area1
Market area2
Market area3
Harmonisation
Removal of barriers

## Slide 17: What’s the added value?
Users of different systems do not face extra technical, operational, communications or business-related barriers
Common units for communication/publication
Harmonised Interconnection Agreements with default rules
TSO-TSO cooperation for cross border trade restrictions due to differences in gas quality and odourisation
Monitoring gas quality
(short and long term)
Common Solutions for data exchange needs (network, protocol, format)
Development process for communication content
Improves common understanding
Quality should not restrict flow
Safeguards TSO-TSO cooperation
Stakeholders are involved
Users may be informed
Communication is harmonised
ü
ü
ü
ü
ü
ü
AIM

## Slide 18: Process
Development of the INT NC
ACER’s Reasoned Opinion
Implementation
Comitology
Develop Framework Guidelines
    July 2012
    Sep 2012-Sep 2013
    Dec 2013
    Nov 2014
    May 2015–May 2016

## Slide 19: NC INT Chapters
General and Final Provisions
Interconnection Agreements
Units
Gas Quality and Odourisation
Data Exchange
Final Provisions
VI

## Slide 20: NC INT: Chapters I and VI
Subject Matter + Scope (Art. 1)
Definitions (Art. 2)
Implementation
(ENTSOG reports 30/09/16)
Entry into force
(20/05/15)
General and Final Provisions
Interconnection Agreements
Units
Gas Quality and Odourisation
Data Exchange
Final Provisions
VI

## Slide 21: 3. ENTSOG Interoperability Network Code Antonio Gómez Bruque System Operation Adviser antonio.gomez@entsog.eu

## Slide 22
General and Final Provisions
Interconnection Agreements
Units
Gas Quality and Odourisation
Data Exchange
Final Provisions
NC INT: Chapter II
VI

## Slide 23: II. Interconnection Agreements Article 3: General Provisions
Flow control
Measurement
Matching
Allocation
Communication of exceptional events
Dispute settlement
Amendment
MANDATORY TERMS

## Slide 24: II. Interconnection Agreements Article 4: Information obligation
Invite NU’s to comment for at least two months in advance
Communicate the terms to ENTSOG and NRA’s within 10 days after the signature
Matching
Allocation
Communication of exceptional events
Any other affecting NUs
When concluding or amending an IA in respect of:

## Slide 25: II. Interconnection Agreements Article 5: Template
NRA’s to comment
(August 2015)
ACER’s opinion
(October 2015)
Final version by ENTSOG (December 2015)
Draft published by ENTSOG
(June 2015)
The template will cover the default terms and conditions for:
Flow control
Measurement
Matching
Allocation
Communication of exceptional events
To be used only in case of disagreement

## Slide 26: II. Interconnection Agreements Article 6: Rules for flow control
Quantity and direction
OBA Correction
Safety legislations
994/2010 Action Plans
Matching
Efficiency
Exceptional events
Gas Quality Restrictions
Principles
Controllable, predictable, accurate and efficient
TSO responsible
By default: flow control equipment operator
Minimise steering differences

## Slide 27
Responsibilities
By default: TSO in control of measurement equipment
Installation, operation and maintenance
Timely information and data provision
Applicable standards
By default: EN 1776
National regulations
Conversion factors
Calculation procedures
MPE method
Data validation
Quality assurance
Verification
Parameters
Frequency and units
MPE
Adjustments
Data exchange
List of signals and alarms
Measurement correction
Access to facility
Modification
Attendance
Station description
Failure management
TSO shall agree on:
II. Interconnection Agreements Article 7: Measurement principles

## Slide 28
II. Interconnection Agreements Article 8: Rules for the matching process
Matching rule
Other rule may be applied. NU’s shall be invited to comment
By default: lesser rule subject to CMP
Take into account temporary reduction of capacities
Initiating TSO
Initiating TSO
Processed quantities
Confirmed
quantities
Inform NU’s
Inform
NU’s
< 45 min
< 90 min
< 2 h
Matching TSO
By default: flow control equipment operator
Identical quantities for each pair of NU’s
Communication procedure
Accurate and timely
Based on harmonised data exchange

## Slide 29: II. Interconnection Agreements Article 9: Rules for allocation
Allocation rule
Consistent at both sides
OBA principles
Steering differences to OBA
By default: operational balancing account
Allocations = confirmed quantities
OBA limits are set according to
If other, invite NU’s to comment
IP physical characteristics
Gas flow dynamics
Linepack of networks
Total technical capacities
If limits are reached, TSO’s may agree to
Extend limits or
Pro-rata allocation

## Slide 30: II. Interconnection Agreements Article 10: Communication procedures in case of exceptional event
Information obligation
Adjacent
TSO(s)
Impact on quantity and quality.
Expected and actual end.
Affected
NU
Impact on its confirmed quantity.
Expected and actual end.
Regulation No
1227 / 2011
Default means for communication TSO-TSO (in English):
1. First verbally via telephone to comply with the information obligation
2. Afterwards an electronic written confirmation has to be issued

## Slide 31: II. Interconnection Agreements Article 11: Settlement of disputes
1st
Amicably
Specify how to settle the dispute if amicably not possible
2nd
Define court of jurisdiction or
T&C of the appointment of experts
Applicable law
3rd
Default rule: absence of agreement on the dispute settlement, then Council Regulation No 44/2001 of 22nd Dec 2000 and Regulation No 593/2008 of 17th Jun 2008 have to be applied

## Slide 32: II. Interconnection Agreements Article 12: Amendment process
TSOs to establish a transparent and detailed amendment process
The amendment process starts with a written notice of one of the involved TSOs
If TSOs fail to reach an agreement on the amendment process they could use the dispute settlement Art. 11

## Slide 33
Common set of Units for external communication for processes linked to Reg. 715/2009
Conversion factors for additional reference conditions (if agreed)
General and Final Provisions
Interconnection Agreements
Units
Gas Quality and Odourisation
Data Exchange
Final Provisions
NC INT: Chapter III
VI

## Slide 34: III. Units
Parameter
Pressure
Bar
Volume
GCV
oC
m3
kWh/m3
Units
Temperature
Energy
Wobbe Index
kWh
kWh/m3
For pressure, distinction made between:
absolute [bar(a)] and gauge [bar(g)]
The reference conditions for volume shall be 0 oC and 1.01325 bar(a).
For GCV, Energy and Wobbe-index the combustion reference temperature shall be 25 oC.
Additional Units maybe used, but then the conversion factors as described in EN ISO 13443 shall apply
Scope: any data exchange or publication related to 715/2009
Other reference conditions may be used for MS connected only to one other MS

## Slide 35: Lunch break 12:30 – 13:30

## Slide 36: Agenda
No | Registration | Time
 | Registration | 10:00-10:30
1 | Introduction and welcome (Energy Community) Energy Community at glance/Third Package implementation | 10:30-10:45
2 | ENTSOG role and activity (ENTSOG) General introduction NC developed and delivered Scheduled activities and plans | 10:45-11:00
3 | ENTSOG Interoperability Network Code (Interactive session with ENTSOG) Process and timing Interconnection Agreement Units | 11:00-12:30
 | Lunch | 12:30-13:30
4 | Practical examples (Energy Community and Contracting Parties) | 13:30-14:00
5 | ENTSOG Interoperability Network Code overview (Interactive session with ENTSOG) GQ and Odourisation Data exchange Final provisions | 14:00-15:00
 | Coffee break | 15:00-15:15
6 | Short introduction of the Transparency Platform (ENTSOG) | 15:15-15:30
7 | Early Warning System (ENTSOG) | 15:30-16:15
8 | Closing remarks (ENTSOG, Energy Community) | 16:15-16:30

## Slide 37: 4. Practical examples 4.1 José Javier Quílez - Commercial Manager - EMPL 4.2 Sándor Bogoly - Head of Capacity Management - FGSZ Anton Kolisnyk - Head of Strategic Planning Division - UKRTRANSGAZ

## Slide 38: 3. ENTSOG Interoperability Network Code Antonio Gómez Bruque System Operation Adviser antonio.gomez@entsog.eu

## Slide 39: NC Interoperability and Data Exchange
Managing cross border trade restrictions
GQ Data Publication
Short Term Monitoring
Long Term Monitoring
General and Final Provisions
Interconnection Agreements
Units
Gas Quality and Odourisation
Data Exchange
Final Provisions
VI

## Slide 40
Develop technically feasible options
Cost-benefit analysis including costs and benefits breakdown for affected parties
Estimate implementation time
Public consultation
Joint proposal submission to NRA’s
NRA’s take a coordinated decision
TSOs cooperation to avoid restriction by their own (swapping, co-mingling)
If restriction can’t be avoided by TSOS and is recognised by NRAs
NRA’s require TSO’s to find a solution within 12 months
IV. Gas Quality and Odourisation
Article 15: Managing cross-border restrictions due to GQ differences

## Slide 41
IV. Gas Quality and Odourisation
Article 16: Short term monitoring on GQ
Data publication
WI, GCV
WI, GCV
WI, GCV
WI, GCV
WI, GCV
WI, GCV
IP
IP
IP
IP
IP
IP
For all entry IP’s
Each hour of gas day
TSOs to publish on the website and put a link on ENTSOG’s TP

## Slide 42
IV. Gas Quality and Odourisation
Article 17: Information provision on short term GQ variation
GQ Sensitive customers
DSO’s connected to the former
GQ Sensitive SSO’s
Parameters,
frequency,
lead time,
protocol
IP
IP
IP
TSO are obliged to cooperate with relevant parties about GQ information
To be agreed
For IP’s and other points where GQ is measured
No new measurement or forecasting equipment
For the recipients internal use only
At best TSO’s estimate in time

## Slide 43
IV. Gas Quality and Odourisation
Article 18: Long term monitoring on GQ in transmission systems
Likely range to evolve
Reference values of previous years
New supply sources
Input from regional cooperation
Long term outlook identify trends and variability
Involving Stakeholders through TYNDP consultation
Every 2 years from TYNDP 2017 onwards
Consistent and aligned with TYNDP
Published by ENTSOG
Scope: WI + GCV + (any other after consultation)

## Slide 44
Swapping?
TSO’s submit solution to NRA’s for approval
TSOs identify and national authorities recognise unavoidable restriction
NRA’s require TSO’s to reach an agreement within 6 months
Flow commitments?
IV. Gas Quality and Odourisation
Article 19: Managing cross-border restrictions due to differences in odourisation practices
1st approach : Agreement between TSOs in 6 months

## Slide 45
Conversion towards non-odourised flow
Cost benefit analysis
Potential flow of odourised gas
Develop options by assessing
Acceptable level of odorant at IP
Safety
Projected volumes
Infrastructure investments
Breakdown of costs and benefits for parties
Estimate implementation time
2nd approach : Detailed plan in 12 months
Public consultation
Implement solution
Submit solution to NRAS
6 months for NRA approval
IV. Gas Quality and Odourisation
Article 19: Managing cross-border restrictions due to differences in odourisation practices

## Slide 46
1st Approach result: no agreement or not effective
2nd Approach result: solution not approved or not proposed
3rd Approach: shift towards non-odourised
Accept technically unavoidable but successively reducing levels
6 months
18 months
4 years
IV. Gas Quality and Odourisation
Article 19: Managing cross-border restrictions due to differences in odourisation practices

## Slide 47: 3. ENTSOG Interoperability Network Code. Jackie Manning System Operation Adviser jackie.manning@entsog.eu

## Slide 48: NC Interoperability and Data Exchange
Common Data Exchange Solutions
Selection & Evaluation Process
General Provisions – Scope
Data Exchange system security & Availability
General and Final Provisions
Interconnection Agreements
Units
Gas Quality and Odourisation
Data Exchange
Final Provisions
VI

## Slide 49
V. Data Exchange
Article 20: General provisions
IP
IP
IP
IP
VTP
TSO 1
TSO 2
Congestion Management Procedures
NC Capacity Allocation Mechanisms
NC Gas Balancing
NC Interoperability & DE
REMIT
SCOPE
Network users active at IPs
or IPs and VTPs

## Slide 50
V. Data Exchange
Article 21: Common Data Exchange Solutions
Document based
Data wrapped in a file and then exchanged
Protocol: AS4
Integrated
Data exchanged directly between applications
Protocol: HTTP/S-SOAP
Interactive
Data format: Edig@s-XML
Data format: EDIG@s-XML
Data exchanged through a web application via a browser
Protocol: HTTP/S
Selection dependent on the type of business

## Slide 51: V. Data Exchange Article 21: Selection & Evaluation Process
Technologies, Security and Reliability
Technical evaluation
Cost Benefit Analysis
Actual spread
Volume of data traffic
Costs (introduction and operation)
Discrimination of small shippers or new market entrants
Synergies with electricity rules
Compatibility with existing solutions
Macro-economical cost evaluation
Criteria & Selection
Methodology
Potential new solution
Cost benefit analysis
Public consultation
Proposal to ACER

## Slide 52: V. Data Exchange Article 22: Data Exchange System Security and Availability
Security & Availability
All Parties
Provide Secure Communications (CIA)
TSOs
Avoid single points of failure
Obtain appropriate services
Inform other parties in case of a problem
Implement security Measures
Minimise Downtime
Inform their counterparties

## Slide 53: V. Data Exchange Article 23: Implementation of Common Network Operating Tools (CNOTs)
TSOs shall implement the common DE solution within 12 months of when NC comes into force
Parties who cannot communicate with TSOs with their existing DE protocol shall also use the common DE solution
Existing solutions can stay in place as long as they are compliant with the data exchange requirements for the corresponding business processes subject to NRA approval

## Slide 54: V. Data Exchange Article 24: Development Process for Common Network Operating Tools (CNOTs)
May include:
Business Rules Specifications (BRS)
Data content format Release Management Implementation Guidelines
Data Exchange Requirements
Published
Managed and controlled
ENTSOG shall publish CNOTs in order to support the implementation of the network code(s)
ENTSOG
Transparent CNOT process with stakeholder consultation
Common Network Operation Tools (CNOTs)

## Slide 55: NC Interoperability and Data Exchange
ENTSOG shall monitor and analyse the implementation of Chapters II to V
TSOs shall communicate all information to enable monitoring and analysis
General and Final Provisions
Interconnection Agreements
Units
Gas Quality and Odourisation
Data Exchange
Final Provisions
VI

## Slide 56: 3. ENTSOG Interoperability Network Code. Final provisions. Jef DeKeyser Interoperability Subject Manager jef.dekeyser@entsog.eu

## Slide 57: VI. Final Provisions Article 25 Implementation Monitoring
TSOs
By 30 September 2016
By 31 July 2016

## Slide 58: VI. Final Provisions Article 26 Entry into Force
Applicable from
1 May 2016
Entry into force
20 May 2015

## Slide 59: Coffee break 15:00 – 15:15

## Slide 60: 6. Short introduction to the Transparency Platform Hendrik Pollex System Operation Business Area Manager hendrik.pollex@entsog.eu

## Slide 61: Legal Obligation
1. Transparency guidelines (Reg. (EC) 715/2009, Chapter 3 of Annex 1)
  Definition of the technical information necessary for network users to gain effective access to the system
  Definition of all relevant points for transparency requirements
  Definition of the information to be published at all relevant points and the time schedule according to which that information shall be published
2. Congestion Management Procedure
  Amendment of Transparency Guidelines by CMP Commission Decision of 24th august 2012 (2012/490/EU)
  TSOs obliged to publish from 1st October 2013 data on a Union-wide central platform, established by ENTSOG
  New data to be published (CMP data)

## Slide 62: New maps
  Interconnection point map: merger of the previous commercial and operational maps with improved layout, dynamic filtering for points and display settings for pipelines.
  Balancing Zone map: it displays the European balancing zones and the aggregated connections between them.

## Slide 63: Charts and Graphs
The ENTSOG TP enables the Network User to display the "indicators" in graphs and to compare the values of different indicators or relevant points.
Fulfills ACER and User relevant request

## Slide 64: Time stamp
Clear indication of the date and time of data publication (time stamp) and opportunity to upload hourly data.
Fulfills ACER relevant request

## Slide 65: Hourly data publication
Currently 30% of TSOs are publishing on hourly basis.
In the ENTSOG TP will be published by all TSOs, only for CROSS BORDER POINTS (EU and NO EU), the PHYSICAL GAS FLOW on hourly basis (both frequency and granularity) by May 2016.

## Slide 66: Data quality Harmonization of the data publication format
TP data format standardized
  Agreement with ACER on:
    Data published
    Units to be used
    Message to indicate special cases
Important for all TP users to have a common understanding

## Slide 67: New Calendar
It displays:
  Maintenance plans per TSO;
  Urgent Market messages (REMIT).

## Slide 68: ENTSOG TP - Data download (1)
Downloading
  In csv or xml
  Filters
  All points or only All CAM-Relevant Points
  Operators
  Data
  Favorites Group

## Slide 69: ENTSOG TP - Data download (2)
Download through REST API
Open to all the users
Queries are formulated through URLs
Download through RSS
RSS-feeds are available, containing the latest UMMs and interruptions sent to the platform
 Transfer of public data from ENTSOG‘s Transparency Platform to Network User

## Slide 70: REMIT Urgent Market Message
  Disclosure of Inside Information for European gas Market Participants
  ENTSOG provides the tool on its Transparency Platform
  Notification (RSS feed) in case of new data available
 It‘s used on voluntary basis by TSOs

## Slide 71: Conclusions
Have users requests been taken care of?
  Improved data quality
  Improved display of information
  Graphical displays
  Timestamps
  CMP data
  Standard format of data
ENTSOG will keep on improving Transparency Platform

## Slide 72: 7. Early Warning System Dr. Werner Rott Head of Gas Disposition GASCADE

## Slide 73: 8. Closing remarks ENTSOG ENERGY COMMUNITY

## Slide 74: Antonio Gómez Bruque Adviser System Operation
Antonio.gomez@entsog.eu
Jackie Manning Adviser System Operation
Jef De Keyser Subject Manager Interoperability
System Operation
Hendrik Pollex Business Area Manager
System Operation