## Slide 1
Central-Eastern Europe
Gas Regional Investment Plan
26 November 2013, Brussels
Bernhard Diermaier, BOG GmbH
Artur Wozniak, GAZ-SYSTEM S.A.

## Slide 2
Agenda
26 November 2013, Brussels
26 November 2013, Brussels
General information on the CEE GRIP
1
Main facts on the CEE GRIP 2012-2021
2
Towards the CEE GRIP 2014-2023
3
Way forward
4

## Slide 3
CEE GRIP
Composition of the region
26 November 2013, Brussels
26 November 2013, Brussels
Countries and TSOs involved: | 
Austria | BOG GmbH
 | TAG GmbH
 | GAS CONNECT AUSTRIA GmbH
Bulgaria | Bulgartransgaz EAD
Croatia | Plinacro d.o.o.
Czech Republic | NET4GAS, s.r.o.
Germany | GRTgaz Deutschland GmbH
 | ONTRAS – VNG Gastransport GmbH
 | Open Grid Europe GmbH
 | GASCADE Gastransport GmbH
 | terranets bw GmbH
Hungary | FGSZ Ltd.
Poland | GAZ-SYSTEM S.A.
Romania | Transgaz SA.
Slovenia | PLINOVODI d.o.o.
Slovakia | eustream, a.s.

## Slide 4
CEE GRIP 2012-2021
Main facts
26 November 2013, Brussels
26 November 2013, Brussels
STAKEHOLDER INVOLVEMENT
Public consultation carried out after publication of the report
A dedicated workshop organised in March in Prague to discuss the CEE GRIP with stakeholders
KEY FACTS
The report released in Q1 2012
Provisions of the Regulation 715/2009 as the main driver behind GRIPs’ development process
SoS Regulation 994/2010 and EC Communication on energy infrastructure priorities also taken into account when drafting the CEE GRIP 2012-2021
CONCLUSIONS
The overall supply demand balance improves over the 10-year range due to the FID projects
However, there are 2 sub-regions that will not have enough capacity (including FID projects) to achieve full supply demand balance under Peak Daily Demand conditions (PL without disruption, and under BY and UA disruption, HU, HR, RO and BG under UA disruption). These gaps could be removed by non-FID projects
The analysis also confirmed the need to develop transmission systems along the N-S corridor in the CEE region
MAIN OBJECTIVES
Better connection of regional markets
Increase of SoS in the region
Identification of potential additional capacity (investment) needs

## Slide 5
CEE GRIP 2014-2023
Main improvements
26 November 2013, Brussels
26 November 2013, Brussels
Barriers chapter
INPUT
OUTPUT
More focus on MKT INT, SoS
CEE GRIP 2012-2021
Stakeholder feedback
TYNDP 2013-2022
Enhanced network analysis

## Slide 6
CEE GRIP 2014-2023
Structure
26 November 2013, Brussels
26 November 2013, Brussels
1 | Foreword
2 | Executive summary
3 | Introduction
4 | Infrastructure
5 | Methodology
6 | Assessment results (supply & demand, modeling analysis)
7 | Regional N-1 analysis
8 | Barriers to infrastructure investments and potential solutions
9 | Conclusions
10 | Annexes

## Slide 7
CEE GRIP 2014-2023
Timeline
26 November 2013, Brussels
26 November 2013, Brussels
 | 2013 |  |  |  |  |  |  |  |  |  |  |  | 2014 |  | 
 | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | I | II | III
Definition of structure and methodology |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Data collection |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Cross-check of data |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Conducting analysis |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Report drafting |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Approval of report |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Publication |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 8
CEE GRIP 2014-2023
Barriers to investments
26 November 2013, Brussels
26 November 2013, Brussels
National regulatory framework
1
Permit granting
2
Market
3
Financial
4
Political
5

## Slide 9
CEE GRIP 2014-2023
Network Analysis I
26 November 2013, Brussels
26 November 2013, Brussels
Modelling is the main basis for network analysis
Sources of data: ENTSOG TSOs and Project Promoters
Application of ENTSOG Modelling Tool
Further differentiation of demand cases
Introduction of summer / winter average demand
More detailed implementation of UGS utilization in the model
Different utilization schemes for different types of analysis
Evolution of N-1 analysis from status quo “snapshot” to 10 year horizon
Analysis of physical capacities of existing and planned infrastructure, not of its in-fact utilisation

## Slide 10
CEE GRIP 2014-2023
Network Analysis II
26 November 2013, Brussels
26 November 2013, Brussels
Regional N-1 Evolution analysis
Winter and summer analysis
Supply & Demand Analysis
Analysis under various climatic conditions
Analysis of network resilience -> disruption scenarios
Analysis of supply source dependence and supply source mix
Output
Identification of capacity gaps
Level of SoS
Degree of Market Integration
Supply source dependence and supply source mix
Strong interdependencies of analysed parameters

## Slide 11
CEE GRIP 2014-2023
N-1 analysis
26 November 2013, Brussels
26 November 2013, Brussels
GOALS
To assess the security of supply of the gas networks in the CEE region
FORMULAS
The N-1 formula calculated separately for winter and summer periods
SUMMER
WINTER
IP capacities and resulting residual capacities as input data
SCENARIOS
Two scenarios taken into consideration – disruption via Ukraine and Belarus
The formula calculated for each country
STAKEHOLDER FEEDBACK
The methodology was appreciated by the stakeholders

## Slide 12
Way forward
26 November 2013, Brussels
26 November 2013, Brussels
CEE GRIP release
March 2014
Public consultation
March – April 2014
Dedicated workshop for stakeholders
April 2014

## Slide 13
Thank you for your attention